## Slide 1: Sensor and Actuator Attacks on Hierarchical Control Systems with Domain-Aware Operator Theory
Craig Bakker
Research Scientist
Notes: Stock Image: Abstract Data Visualization Grid

## Slide 2: Introduction
Cyber-Physical Security and Industrial Control Systems
The Koopman Operator and Machine Learning

## Slide 3: Emulator Description
Commercial Building HVAC
Hierarchical Control
Fault and Attack Implementation

## Slide 4: Attack Formulation
Separation of Dynamics
Objective Function
Attacker Stealth
Supervisory Control

## Slide 5: Koopman Model and Domain Knowledge
Affine Mapping
Stability-Enforcing Formulation
Variable Separation and Dependencies
Previous Work
 | Set Point | Actuator | Sensors
AHU | AHU SAT | Cooling Coil Valve | MAT, AHU SAT
AHU | AHU MAT | Economizer Damper | OAT, RAT, MAT
AHU | Duct Static Pressure | Fan Speed | Duct Static Pressure
VAV | VAV Air Flow Rate | VAV Damper | Supply Air Flow Rate
VAV | VAV SAT | Heating Coil Valve | VAV SAT

## Slide 6: Results – Sensors Only
Power Consumption
Attack Synergies

## Slide 7: Results – Including Actuators
Actuator-Only Attacks
Combined Attacks

## Slide 8: Discussion
Multiple vs Single Attacks
Sensors vs Actuators
Detection and Defense

## Slide 9: Questions
Banchoff, T., Beall, J.: kbc1.jpg. URL http://alem3d.obidos.org/en/struik/kbottle/