## PVMAC Software Questionnaire24_
What is the name of your platform? | Responses valid as of | Who is the platform provider/company? | What year was the platform launched? | What is the current version of the platform? | How many GWs and sites does your platform operate on? (e.g., 10 GW, 50 sites) | Where are most of the assets located? | Are your customers mainly: | Please provide a link to the platform's website or product page. | Is the platform: | Does your platform use pvlib-python or PVAnalytics functions? Please respond Yes/No. If Yes, please indicate which models/functions your platform uses. | If your platform uses pvlib-python or PVAnalytics, please mention any functionalities you would like to see or are missing. Add N/A if not applicable to your platform. | Own hardware required? | What are the primary use cases supported? (Check all that apply) | Who are your typical users? | Fresh install: For the very first site a customer integrates on your platform (full setup, data imports etc), how long does onboarding typically take (from contract signing)? If the answer is "It depends" please provide information in the "Other". | Additional sites: Once the initial setup is complete, how long does it typically take to onboard an additional site (from finalizing the first fresh install)? If the answer is "It depends" please provide information in the "Other". | Is onboarding automated or manual? | What data sources are required to onboard a site? (Check all that apply) | What 3rd party data sources can be integrated? (Check all that apply) | What systems are you connected and export data to? (Check all that apply) | What data formats are supported for import/export? (Check all that apply) | What are the finest temporal resolutions that your platform can use for monitoring, analytics, data storage? Please copy and paste this text to answer in the paragraph below: 1) Monitoring/ingestions (e.g., 1 sec, 1 min): 2) Analytics/calculations (e.g., 15 min, hourly, daily): 3) Data storage/archiving (e.g., 15 min, hourly, full raw, etc.): 4) Any other comments: | Does your platform provide a public and documented API? | An asset owner wants to migrate to another platform or wants to export data (i.e., time-series of KPIs, losses, etc.) for their O&M provider. Is this possible and if yes, is there an additional charge? (e.g., Yes, it is possible, we provide an API for an additional cost of $) | How are the incoming data validated? (Check all that apply) | How are anomalous readings flagged? (Check all that apply) | How are missing/erroneous data managed? (Check all that apply) | Are these approaches transparent (or documented) to the user? | If yes, do you label every timestamp or provide a more generic data quality report? | What types of imagery do you support for analytics? (Check all that apply) | Does the platform allow geolocated fault overlay on: (Check all that apply) | Do you use or support a digital twin? If no, please select "No" and move to the next section, otherwise please answer the remaining questions on DT. | Please provide your definition of a Digital Twin: | What is the primary purpose of your digital twin? | What is the basis of your digital twin? If it is a combination, please specify in the "Other". | Can the digital twin: (Check all that apply) | Does your platform compute expected yield? If no, please select "No" and move to the next section, otherwise please answer the remaining questions on expected yield. | What is the source of expected yield? If multiple models, please specify in "Other". | Can users view or compare different yield baselines (e.g., proforma vs recalculated)? | Is the expected yield adjusted for: (Check all that apply) | Which performance KPIs are computed by your platform? (Check all that apply) | Does your platform compute KPIs for energy storage? If yes, please specify in "Other". | Does your platform compute financial KPIs? If yes, please specify in "Other". | Does your platform use AI/ML? If no, please ignore the next 2 questions. | What is the purpose of AI/ML in your software? (Check all that apply) | Please provide an example e.g., We use XGBoost to detect and classify inverter shut down but feel free to provide more details. | What types of PV performance issues can be detected and classified? Please mark which ones can be quantified in power loss. If something needs to be specified please use "Other" | Are the diagnostic results linked to work order generation within the platform or exported to CMMS? | Is documentation of the platform's methods (e.g., KPI calculations, yield modeling, analytics): | Please specify whether your methods are based on industry standards e.g., IEC, independently validated or peer-reviewed. | If both raw and processed data are available to your users, is the documentation adequate to be able to reproduce KPIs and expected yield? If partially or N/A, please specify in "Other". | How is your platform priced? | Please use the following examples and format to provide typical costs in the box below. 1) Onboarding/initial setup per MW or site (up to 1 GW total fleet or 20 x 50 MW sites: 2) Ongoing subscription per MW per year (up to 1 GW total fleet): 3) Example scenario: 100 MW plant in California 3a) Onboarding/setup fee: 3b) Ongoing subscription per MW per year: | Is technical support included in the pricing? | Do you provide user training or documentation? | What differentiates your platform from competitors? Describe unique features, capabilities, R&D focus, and any independent validation that supports your claims.
SynaptiQ | 2025-11-25 | 3E | 2010 | n.a. (continuously evolving SaaS platform) | 50 GW, 28,360 sites | Europe | Both | https://www.3e.eu/ | An integrated solution offering both monitoring and analytics | No | We use pvlib | No | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Performance guarantees and contractual metrics;Mobile field inspections (e.g., barcode scans, cable/connectors, string mapping) | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers;EPCs or developers | Depends on system size or data availability (please give an example) 3E example: for a C&I customer in Southern Europe, we recently onboarded more than 1500 sites in less than 2 months. Availability of reliable as-built data is important and allows fast and automated onboarding. | < 1 hour | Semi- to fully automated (UI + API) by user/customer or by 3E | SCADA or monitoring system data;Meteorological data;DC level measurements;AC level measurements;Layout or as-built files;Spec sheets;IV curve data;Power meter or utility data;API keys or credentials from 3rd party monitoring system/SCADA;Single-axis tracker data (e.g., rotation) | Market pricing;Forecasting;PV design providers;CMMS;ERP;Satellite data;EMS data, Thermography data | CMMS;SCADA historians;ERP;General export via API;Asset management platforms;Other analytics | CSV;JSON;XML;Excel | - Monitoring/ingestions (e.g., 1 sec, 1 min): __1 sec____________ - Analytics/calculations (e.g., 15 min, hourly, daily): 15 min_____________ - Data storage/archiving (e.g., 15 min, hourly, full raw, etc.): _15 min__________ | Yes | Yes, this is possible. There is no additional charge, 3E considers the data as the property of the customer and hence, making this data available for external use does not come with an additional charge. | Range checks;Cross-sensor consistency;Model-based checks | Automated alarms;QA dashboards;loss of data flow is automatically signaled to the user | Imputation (e.g., replace missing data with modeled data, or a statistical approach);Filtering out | Yes | the corrections done by the simulation model are visible. The digital twin model defines the structure for data cleaning and data aggregations. | Satellite |  | Yes | The digital twin in 3E SynaptiQ is a digital replica of a physical asset (solar, wind, or BESS) that enables comprehensive monitoring, analysis, and optimization throughout the assetâ€™s lifecycle by integrating data from multiple sources and simulating real-world conditions. SynaptiQ's unique approach centers on a physics-based digital twin, which differs from traditional black-box models that rely solely on historical operational data to build statistical representations. Instead, the SynaptiQ physics-based digital twin uses fundamental physical principles to model asset behavior, allowing it to deliver more accurate insights and without the need for lengthy data collection periods. | Simulation/modeling | Simulation model (e.g., PVWatts, PlantPredict) | Receive real-time data from the plant?;Display historical performance and faults geographically or temporally? | Yes | Physics-based model trained on operating data | Yes | Weather;External curtailment;Inverter clipping;Proforma losses (e.g. derates);External losses (e.g., grid unavailability or others please specify);Data resolution (e.g., hourly to subhourly clipping bias) | Time-based availability;Energy-based availability;Tracker-based availability;Energy Performance Index (EPI);Performance Ratio (PR);Weather-adjusted PR;Capacity Factor;Specific Yield (kWh/kWp) | Yes;Yes: State of Charge, State of Health, Round Trip Efficiency, Number of Cycles, Availability, Cell temperatures, Power DC, Voltage DC, Current DC, Container Temperature,. Additionally also: Voltage DC (simulated by digital twin), State of Charge (imbalance â€“ also calculated through simulations by digital twin) | Yes;- Yes: energy (and revenue) lost against original business plans through 3E SynaptiQ solar analytics capabilities. Additionally: capture price, capture ratio, | Yes | Fault classification;Anomaly detection from time series;Performance prediction;Predictive maintenance;Data quality and/or ingestion |  | Soiling;Snow;Degradation (please specify);Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);String issues (please specify);Ground faults;Inverter issues (please specify);Curtailment;Grid issues;irradiance model deviation, temperature model deviation, AC wiring losses, subplant (e.g. transformer) downtime | Yes | Available to users | Based on industry standards: 3E SynaptiQ uses the methodologies described in IEC 61724-Part 1 (for monitoring) and IEC 61724-Part 3 (for energy evaluation) | Yes | One-time onboarding/setup fee;Subscription per MW;Subscription per month/annual | N/A | Yes | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | SynaptiQ is a fully hybrid platform, supporting solar, BESS and wind. It gives you portfolio overview across technologies, avoiding the back-and-forth in between monitoring and analysis tools. SynaptiQ ensures reliable performance monitoring with smart alarms generated by a physics-based, digital twin of your assets. It minimizes false alarms, delivering effective decision support at portfolio level. SynaptiQ's analytics capabilities complement the monitoring with real-time meteo and yield modeling data for comprehensive performance analysis of your assets. It identifies up to 23 loss categories, with automatic recommendations for the recuperable losses, efficiently triggering remediation actions. SynaptiQ is an open system, designed to be integrated seamlessly within customer's environments. Data is customer-owned and accessible through a rich API, allowing to automate workflows, to build integrated toolchains and to combine proprietary technologies with out-of-the-box methodologies.
SolarGain | 2025-09-25 | Above Surveying Ltd | 2016 | The SolarGain web application doesn't have a version number as we do a release every 2 weeks, following an Agile model. The latest release was 15 September 2025. | 100+ GW , 10,000+ sites | Europe | Utility | https://www.abovesurveying.com/ | Focused on automated/manual field work (e.g., barcode scanning, CMS, connector inspection) | No | No | No | Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Predictive maintenance;Mobile field inspections (e.g., barcode scans, cable/connectors, string mapping);3D plant representation | O&M providers;IPPs/Asset Owners;Asset managers;Technicians;EPCs or developers | < 1 week | 1 day | Semi manual by provider/user, heading towards fully manual by user | Layout or as-built files;Spec sheets | PV design providers;CMMS;ERP | CMMS;ERP;General export via API;Asset management platforms;Robotics or autonomy platforms;Project Management softwares | CSV;JSON;Excel;.DWG;PDF | N/A | Yes | Yes its possible, at a cost of 10$/MW | All drone data collected by partners/customers is fully QAâ€™ed â€“ with an Automated and a Manual Step. All other inspection data uploaded by users is not QAâ€™ed | QA dashboards | Data can be â€œfixedâ€ (orthoimagery) or data needs to be recollected | Yes |  | RGB;Infrared;Electroluminescence/Photoluminescence;LIDAR;Satellite | Aerial orthoimagery;3D models;Digitized plant layouts (e.g., by inverter, string, module) | Yes | A virtual replica of a physical solar asset, anchored in precise geospatial and electrical context. | Preventative Maintenance & Warranty Claims + Predictive analysis + Work planning/dispatch + Geospatial & Electrical History of each Component | CAD or BIM-based 3D plant structure | Display historical performance and faults geographically or temporally? | No |  |  |  | N/A | No | Yes | Yes | Fault classification;Imagery analysis;Performance prediction;Predictive maintenance;Data quality and/or ingestion |  | Hotspots;Cracks;Delamination;Bypass diodes failures;Soiling;Snow;Degradation (please specify);Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);String issues (please specify);Ground faults;Connector issues;Inverter issues (please specify);Curtailment;Grid issues | Both | Publicly available | - Based on industry standards - IEC - Independently validated - Peer-reviewed - work with numerous academic institutions | Yes | One-time onboarding/setup fee;Subscription per MW;Subscription per month/annual;Pay-per-use (e.g., per report, inspection, or analysis);Custom enterprise agreements | 1) 25$ /MW 2) 75$ / MW | Yes | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | Digital Twin, R&D focus, patents etc.
ACTIS ERP | 2025-09-24 | Alectris | 2013 | Version 2104 (version of the Microsoft CRM platform) | 1.57 GW , 10,837 sites/assets | Europe | Both | https://actiserp.com/ | ACTIS covers all commercial, financial, operational, and technical aspects of a portfolio, including real-time monitoring, service management, asset management, PPA billing, and project management. The platform can also be used for internal business operations, such as cost management and sales. | No | N/A | No | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Financial reporting;Performance guarantees and contractual metrics;Predictive maintenance | O&M providers;IPPs/Asset Owners;Asset managers;Technicians;EPCs or developers | < 1 month | 1-12 hours | Semi-automated (e.g., UI-based data ingestion) | SCADA or monitoring system data;API keys or credentials from 3rd party monitoring system/SCADA | Market pricing;Forecasting;PV design providers;CMMS;ERP;Satellite data | SQL Server, Power BI | CSV;Excel | Monitoring/ingestions: 15 mins. Analytics/calculations: mins process, KPIs daily. Data storage/archiving: 1 min, backup: daily. | Yes | It is possible by exporting their data in excel, and also by using our API to export for an additional cost. | Range checks;Cross-sensor consistency;Model-based checks;Statistical methods | Automated alarms;QA dashboards | Filtering out | Yes | Users can hover over the Power BI diagrams to see the precise values and their respective timestamps. |  |  | No |  |  |  |  | Yes | Proforma model from commissioning/design | Yes | Weather | Time-based availability;Energy Performance Index (EPI);Performance Ratio (PR);Weather-adjusted PR;Specific Yield (kWh/kWp);Expected PR (for equipment and plant), Expected Availability (for equipment and plant), Green meter PR, Grid meter PR, Uptime (for equipment and plant), Inverter Performance Index | Yes;The platform can support the individually tailored KPIs of any client. | Yes;The platform can support the individually tailored KPIs of any client. | Yes | Fault classification;Performance prediction;Predictive maintenance | We use Power BI to classify all metrics, such as equipment faults such as inverter shutdowns, transformer overheating, and string underperformance. We also use Power BI models to predict solar energy generation over the course of predifined periods. | Soiling;Degradation (please specify);Tracker issues (please specify);String issues (please specify);Inverter issues (please specify);Curtailment;Grid issues | Yes | Available to users | Independently validated | Yes | One-time onboarding/setup fee;Subscription per MW;Subscription per month/annual;A combination of a one-time onboarding/setup fee, annual subscription per MWp, and monthly user subscription, depending on the client's needs.. | 1) 10,000 EUR 2) 243,600 EUR 3) 3a) 10,000 EUR 3b) Total annual cost: 27,600 EUR (Scalable annual cost: 0-50 MW -> 300 EUR per MW , 51-70 MW -> 270 EUR per MW , >70 MW ->240 EUR per MW) | Yes | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | Extensive customization: The ACTIS environment is fully customizable, from individual forms to whole modules to KPIs and calculations. Customers can define their own calculations, metrics, and KPIs, allowing them to track performance in a way that directly aligns with their strategic objectives. Full Business Coverage: Our platform offers comprehensive modules covering all elements of a business (Sales, Financials, Asset Management, Technician Work Orders, Equipment, and more) ensuring no critical area is overlooked. Live Monitoring & Analytics: Through Power BI integration, businesses can access real-time dashboards, enabling informed decision-making and immediate insights into performance trends.
Amperecloud Platform | 2025-10-02 | Amperecloud | 2021 | 1.49b.2.2 latest stable | 8 GWp | Europe | Utility | https://en.amperecloud.com/pv-monitoring | An integrated solution offering both monitoring and analytics, Focused on imaging analytics | - | - | No | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;O&M ticketing/workflows;Reporting and dashboards;Performance guarantees and contractual metrics | O&M providers;IPPs/Asset Owners;Asset managers | < 1 week | < 1 hour | Semi-automated (e.g., UI-based data ingestion) | SCADA or monitoring system data;DC level measurements;AC level measurements | Forecasting;CMMS;ERP;Satellite data | CMMS;SCADA historians;ERP;General export via API | CSV;XML;Excel | 1) Monitoring/ingestions (e.g., 1 sec, 1 min): 1 min 2) Analytics/calculations (e.g., 15 min, hourly, daily): 15 min 3) Data storage/archiving (e.g., 15 min, hourly, full raw, etc.): 15 min | Yes | Yes, it is possible, included in the Enterprise Package. | Range checks;Cross-sensor consistency;Statistical methods | Automated alarms | Imputation (e.g., replace missing data with modeled data, or a statistical approach);Filtering out | Yes |  | RGB;Infrared;Satellite | Aerial orthoimagery;Digitized plant layouts (e.g., by inverter, string, module) | Yes | Our definition of a Digital Twin is a virtual representation of a physical asset, system, or process that continuously receives data from the real-world counterpart. This digital model enables real-time monitoring, analysis, and simulation to improve performance, detect anomalies, and support predictive maintenance. It serves as a dynamic, data-driven bridge between the physical and digital worlds, ensuring optimized operation and informed decision-making throughout the asset's lifecycle. | Simulation/modeling, Real-time status mirror, Pre,dictive analysis, Work planning/dispatch | Simulation model (e.g., PVWatts, PlantPredict) | Receive real-time data from the plant?;Push commands to equipment (e.g., request IV curves, reset inverter)?;Display historical performance and faults geographically or temporally? | Yes | Proforma model from commissioning/design and Physics-based model trained on operating data | Yes | Weather;External curtailment;Inverter clipping | Tracker-based availability;Energy Performance Index (EPI);Performance Ratio (PR);Weather-adjusted PR | Yes;State of Charge, Depth of Discharge, Round-Trip Efficiency, Capacity Fade, Charge/Discharge Cycles, Availability | Yes;Yield loss in EUR | Yes | Fault classification;Anomaly detection from time series;Imagery analysis;Data quality and/or ingestion |  | Soiling;Snow;Degradation (please specify);Tracker issues (please specify);Curtailment;Degradation: PID, Tracker issues: Availability - connection status | Yes | Shared upon request under NDA, Embedded in the platform UI/help center | IEC 61724 | Yes | One-time onboarding/setup fee;Subscription per MW;Subscription per month/annual | prices on request | Yes | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | Our alarm system allows the creation of custom alerts, enabling customers to avoid scrolling through extensive lists of facilities and inverters. Even a small O&M team can efficiently monitor hundreds of assets, focusing on optimizing alert configurations rather than performing manual checks across numerous entries.
Denowatts | 2025-10-16 | Denowatts | 2016 | 2 | 3GW, 500 sites | North America | C&I | Denowatts.com | An integrated solution offering both monitoring and analytics | Yes, PVLib and other python | None | Yes | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Health-state assessment;Reporting and dashboards;Performance guarantees and contractual metrics;Capacity and Energy Testing | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers;Technicians;EPCs or developers | < 1 week | 2-7 days | Fully manual by user/customer (self-onboarding) | DC level measurements;AC level measurements;Layout or as-built files;Spec sheets;Power meter or utility data;Energy Model | Satellite data | General export via API | CSV;JSON | 1)1) 1M (typical), 2)1M, 3)1M, 4) We use edge computation with second-level sampling and 1M records | Yes | Yes, not extra charges for typical use | Range checks;Cross-sensor consistency;Model-based checks;Statistical methods | Automated alarms;QA dashboards;Automation supplemented by manual overrides | Imputation (e.g., replace missing data with modeled data, or a statistical approach);Filtering out;Backup sources used based on stages | Yes | Soon we will | We're all time-series data and photographs | Soon it will | No | The Expected and Learned Power models run with real-time computation from our sensor networks. This is a digital representation of the Expected and Learned power. | Simulation/modeling | Simulation model (e.g., PVWatts, PlantPredict) | Receive real-time data from the plant? | Yes | Proforma model from commissioning/design | Yes | Weather;External curtailment;Inverter clipping;Proforma losses (e.g. derates);External losses (e.g., grid unavailability or others please specify);Data resolution (e.g., hourly to subhourly clipping bias);Learned Shade, Snow, Equipment Availability, etc. | Time-based availability;Energy-based availability;Energy Performance Index (EPI);All from IEC 61724-series, such as Baseline EPI, In-service EPI, etc. | No | No | Yes | Fault classification;Anomaly detection from time series;Performance prediction;Resource, such as shade mapping and Snow effects | We use algorithms to identify near shade profiles. | Soiling;Snow;Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);String issues (please specify);Inverter issues (please specify);Curtailment;Grid issues;Some of these may be more statistical-based than ML, but its a broad definition | Yes | Publicly available | We are ISO 17025 Accredited for ASTM E2848 and IEC 61724-2 and -3, including annual proficiency testing by peer review. | Some, but we do a lot of proprietary data curation to so start with clean records. | Subscription per month/annual | 10 MW hardware ($8,000) annual service ($1,200), 100MW (hardware $20,000) annual service ($3,600) | Yes | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation;Heatspring Installer Certification Course | ISO 17025 Accredited Services, such as capacity testing and energy accounting, supported by streamlined benchmarking and monitoring hardware.
Ecosuite | 2025-09-24 | Ecosuite Inc. | 2024 | v1.19.2 | 1.5 GW, 510 projects | North America | Both | https://ecosuite.io | All of the above plus what the industry would describe as the plumbing needed for Utility DERMS (its not how we describe it though - we describe it as offering knobs and dials to the system operator, read our blog for details: https://ecosuite.io/2025/07/21/let-ders-do-more | Yes (pvlib). More info here: https://docs.ecosuite.io/user-guide/modules/data/project/expected-energy-calculation-setup | N/A | We have a COTS approach to hardware and have 3rd party providers engaged to supply this (details here: https://ecosuite.io/wp-content/uploads/2024/03/Ecosuite-Node-Technical-Details-24.pdf and click on learn more here: https://ecosuite.io/asset-management-pricing/#node-compute) | Daily monitoring;Automated performance loss detection;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Financial reporting;Predictive maintenance;Utlitly integrations (e.g. OpenADR and IEEE 1547-2018) | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers;EPCs or developers;Financiers and Data Scientists | < 1 week | 2-7 days | Semi-automated (e.g., UI-based data ingestion) | SCADA or monitoring system data;Meteorological data;Layout or as-built files;Spec sheets;Power meter or utility data;API keys or credentials from 3rd party monitoring system/SCADA;financial, legal and contractural info (optional depending on the range of features activated) | Market pricing;Forecasting;PV design providers;Satellite data | General export via API;Orange Button | CSV;JSON;Excel | 1) Monitoring/ingestions (e.g., 1 sec, 1 min): | Yes | Yes. We have pricing for API only users, but no additional charge for those already using Ecosuite on a paid plan. | Range checks;Cross-sensor consistency;Model-based checks;Statistical methods;Via SolarQuant (SQC), ML / AI tools are being developed to do checks at the grid edge | Automated alarms;QA dashboards | Imputation (e.g., replace missing data with modeled data, or a statistical approach);This is an automated capability that is manually activated. | Yes | We attach events to any data fixes that occur. | RGB;Satellite |  | Yes | Dashboard showing high level status of all assets and details of individual assets in the field | Real-time status mirror | Live operational data including device statuses overlayed with expected performance (i.e. irradiance driven) and forecast performance (e.g. using data from PVWatts). | Receive real-time data from the plant?;Push commands to equipment (e.g., request IV curves, reset inverter)?;Display historical performance and faults geographically or temporally? | Yes | We do the first three above | Yes | Weather;Inverter clipping;Proforma losses (e.g. derates);Data resolution (e.g., hourly to subhourly clipping bias) | Time-based availability;Performance Ratio (PR);Specific Yield (kWh/kWp) | No | Yes;See details here: https://youtu.be/I9GZm7sjkZY?feature=shared&t=259 | Yes | Performance prediction;Predictive maintenance;Data quality and/or ingestion | What we do is covered by these two links: 1) https://www.loom.com/share/88fe468df64545d3ab6c5a1eb261575a (LLM under the covers) 2) https://ecosuite.io/wp-content/uploads/2025/03/MITEC-Tech-Showcase-Poster-3-3-25_final2.pdf (this is one example of many - our infrastructure supports a model zoo for ML experts to iterate and improve on these tools and for these tools to be selectively deployed by asset managers) | At this point in time, we do not classify the cause of performance issues or pre emptive failure detection. We do anticipate that this will become an attibute of the detections as the algorithms evolve. | Yes | Publicly available | It is always our goal to leverage existing best practices where those are available and applicable (so yes in most cases). | Yes | One-time onboarding/setup fee;Subscription per month/annual;Custom enterprise agreements;all info is available here: https://ecosuite.io/pricing | Onboarding cost is $950 per site/project Subscription pricing is here: https://ecosuite.io/pricing | Yes | Live training sessions;Knowledge base or documentation | We eliminate friction and bust data silos in all aspects of the industry (and we work hard to ensure we don't create our own data silos in the process i.e. we make it easy for users to get at their raw data and export projects if/when needed). We achieve this with open source infrustructure at the base of our product and by leveraging relevant open standards based protocols and/or open source implementations of such protocols. With that low level aspect of the problem solved (i.e. we can interface with any hardware on the grid), we are then focussed on improving human to human and business to business interactions and efficiencies. Traditionally there has been a lot of friction in the industry in these places also, an example of this is with finance providers. There is a specific category of user within Ecosuite for this. We eliminate friction for Finaciers and also for DER Developers by making it extremely easy for a developer to invite a financier into their org to finance new projects or to evalute performance of exsisting portfolios (no more exchanging emails, dropbox links or zip files full of disorganised information). This same phylosophy exist within Ecosuite for all categories of business user within the industry (e.g. DER Development, Asset Managment, O&M, Utility Grid Services, Data Science and of course Financing).
enSights.ai | 2026-03-12 | enSights | 2021 |  | 20,000 Sites+ 2.5GW PV + 3GW of BESS | North America | Both | www.ensights.ai | Monitoring, analytics, AI-driven operational intelligence, asset management, and workflow automation platform for renewable energy portfolios (solar, storage, and hybrid). | Yes | We use python and PVlib | No | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Financial reporting;Performance guarantees and contractual metrics;Predictive maintenance;Mobile field inspections (e.g., barcode scans, cable/connectors, string mapping) | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers;Technicians;EPCs or developers | < 1 week | < 1 hour | Fully automated (e.g., API) | API keys or credentials from 3rd party monitoring system/SCADA | Market pricing;Forecasting;PV design providers;CMMS;ERP;Satellite data | CMMS;SCADA historians;ERP;General export via API;Asset management platforms;Robotics or autonomy platforms;Other analytics;PV design providers | CSV;XML;PDF; JSON; FTP | 1. Monitoring/ ingestions 1 sec, 2. Analytics/calcualtions 15 min, 3. Data storage/archiving 15 min | Yes | Yes it is possible. | Range checks;Cross-sensor consistency;Model-based checks;Statistical methods | Automated alarms;QA dashboards;Automation supplemented by manual overrides | Imputation (e.g., replace missing data with modeled data, or a statistical approach);Filtering out;- missing/ erroneous data is categorized by short/ medium/ long duration and according to the category: short- augmented by calculation, Medium- augmented by statistical method and Long- Excluded from the KPI calculations. This is in compliance to IEEE 61724 | Yes | - All missing/ erroneous data is flagged with it's time stamp and category. The user can get a (Daily/Weekly/Monthly/yearly) detailed report of all missing data statistics, time of occurrence and the way this data was handled. | Partnerships & intergrations with different players | Yes | Yes | A simulated physical model of the pv system which runs in parallel to the system and yields the electrical parameters of the system. All based on the operating conditions and weather conditions | Simulation/modeling | Combination of Empirical and simulation models | Receive real-time data from the plant?;Display historical performance and faults geographically or temporally? | Yes | Physics-based model trained on operating data, Proforma model from commissioning/design | Yes | Weather;External curtailment;Inverter clipping;External losses (e.g., grid unavailability or others please specify);Data resolution (e.g., hourly to subhourly clipping bias) | Time-based availability;Energy-based availability;Tracker-based availability;Energy Performance Index (EPI);Performance Ratio (PR);Weather-adjusted PR;Capacity Factor;Specific Yield (kWh/kWp);APR and Temperature APR | Yes;Availability, SOH, RTE, SOC, Capacity, charge/dischrge cycles, | Yes;Actual revenue vs expected revenue, financial contract breech, ROI, | Yes | Anomaly detection from time series, Performance prediction, Predictive maintenance, along with root cause analysis, prioritization, automation, and a chatbot |  | Soiling;Degradation (please specify);Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);String issues (please specify);Ground faults;Inverter issues (please specify);Curtailment;Grid issues | Yes | Shared upon request under NDA | Based on industry standards. IEEE 61724 for data integrity and validation, IEEE 2030.5 for communication and cyber, modbus. | Yes | Subscription per month/annual | Monthly fee based on MW under mgt. The platform is modular, so the pricing depends on what features you choose. No onboarding or set up fee. Its competitive, transparent, open. | Yes | Live training sessions;Knowledge base or documentation | enSights is the only AI-powered Energy Business Management (EBM) platform that integrates renewable performance, DER secured control and portfolio-level optimization across vendors. Unlike traditional monitoring or asset management tools that focus on only one layer of operations, enSights integrates renewable performance monitoring, DER-secured control, and portfolio-level optimization across vendors in a single platform. The system unifies technical, operational, and financial data into one environment—eliminating the fragmented stack of monitoring tools, spreadsheets, ticketing systems, and reporting platforms that most renewable operators rely on today. From device-level telemetry to portfolio dispatch decisions and financial performance, enSights connects every layer of the renewable energy business into one operational intelligence platform. Key Differentiators Unified Operational Architecture enSights combines EMS, CMMS, CRM, performance analytics, and financial asset management into a single secure, cloud-native platform. This eliminates the need for multiple disconnected systems and provides operators with a unified operational layer across solar, storage, EV infrastructure, and hybrid assets. AI-Driven Operational Intelligence Rather than generating thousands of alarms, enSights applies proprietary AI and physics-based models to prioritize issues by operational and financial impact. This enables teams to focus on the actions that matter most—reducing noise, accelerating root-cause analysis, and improving response times. Verified Data Integrity & Trusted Analytics The platform continuously validates and reconciles operational data streams to detect anomalies, fill missing values, and ensure accurate performance analytics. This creates a trusted data layer that supports reliable reporting, compliance, investor transparency, and financial decision-making. Operational + Financial Integration enSights directly connects operational performance with financial outcomes—linking asset behavior, maintenance actions, and dispatch decisions to revenue, SLA obligations, and portfolio profitability. This allows operators to quantify the financial impact of operational decisions in real time. Vendor-Neutral & Hardware-Agnostic The platform integrates with more than 200 OEMs and third-party systems, enabling operators to manage heterogeneous portfolios across solar, battery storage, EV charging, and hybrid assets without vendor lock-in. Secure Control & Portfolio Optimization In addition to monitoring and diagnostics, enSights provides a secure orchestration layer capable of executing portfolio-level strategies such as curtailment management, storage dispatch, and operational optimization across distributed assets. R&D Focus enSights’ R&D is focused on advancing AI-driven operational intelligence, predictive forecasting, automated compliance workflows, and advanced cybersecurity protections for distributed energy fleets. Independent Validation Across deployments connected to over 140,000 devices, enSights has demonstrated up to 7.5% recovered generation and 90% faster reporting workflows through automated diagnostics and portfolio analytics. The platform’s cybersecurity architecture was developed in collaboration with Israel’s National ICS Innovation Lab, with ISO 27001 certification, SOC 2 in progress, and enterprise cloud partnerships with AWS and Microsoft ensuring global scalability, reliability, and resilience.
DUET | 2025-12-01 | Enurgen Inc. | 2023 | n/a | multiple GW; >100 sites | North America | Utility | https://www.enurgen.com | An integrated solution offering both monitoring and analytics | Yes. pvbib's implementation of DIRINT only. | n/a | No | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;Reporting and dashboards;Quantify performance losses compared to modeled performance | O&M providers;IPPs/Asset Owners;Performance engineers;EPCs or developers;Independent engineers; lenders engineers | <1 week; Depends on system size, data availability, and customer urgency | 1 day; Depends on system size, data availability, data integration, customer urgency | semi-automated, with UI-based data ingestion as well as manual support by provider to ensure full and complete integration for each unique site | SCADA or monitoring system data;Meteorological data;Layout or as-built files;Spec sheets;Optional: IV curve data; DC level measurements; AC level measurements; Thermography data; Power meter or utility data; API keys or credentials from 3rd party monitoring system/SCADA; Single-axis tracker data (e.g., rotation); measured soiling, panel temperature, front and rear POA, curtailment, maintenance/activity logs | PV design providers;Satellite data;CAD drawings; external simulation results for comparison; measured terrain; CEC inverter database; CEC panel database; OND files; PAN files | General export via API;PV design providers;CAD export format | CSV;PVCollada (.pvc);KML; KMZ; OND; PAN; PVsyst ZIP; Parquet | Monitoring/ingestions: 1 minute Analytics/calculations: 1 minute Data storage/archiving: 1 minute Any other comments: < 1 minute available upon request | Private API | Automated export to external databases supported; additional costs depend on detail and customization | Range checks;Cross-sensor consistency;Model-based checks;Statistical methods | Automated alarms;QA dashboards;deviations from modeled expectations | Imputation (e.g., replace missing data with modeled data, or a statistical approach);Filtering out;flagging for client review | Yes | Per timestamp data quality flags are generated | custom imagery support available upon request | digitized plant layouts and custom imagery support available upon request | Yes | We do not typically use the term "digital twin" as this means many different things across different industry segments and employee roles. We apply a physics-based model that represents the physical characteristics and behaviors of the plant in a digitized form. | Simulation/modeling; real-time status monitoring and deviation detection | Simulation model: custom physics-based 3D model, DUET | Receive real-time data from the plant?;Display historical performance and faults geographically or temporally? | Yes | Physics-based model [not trained on operating data, but validated against operating data] | Yes | Weather;External curtailment;Inverter clipping;Proforma losses (e.g. derates);External losses (e.g., grid unavailability or others please specify);Data resolution (e.g., hourly to subhourly clipping bias);temperature; spectrum; tracking; terrain; soiling; data resolution is down to minutely so no need for resolution correction; model is physics-based which eliminates the need for empirical derate factors | Energy Performance Index (EPI);Performance Ratio (PR);Capacity Factor;Specific Yield (kWh/kWp);many others; custom KPIs available upon request | No | not presently; available upon request | We apply physics-based models and algorithms for performance prediction and anomaly detection |  |  | Soiling;Snow;Degradation (please specify);Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);String issues (please specify);Ground faults;Inverter issues (please specify);Curtailment;Degradation (panel); Shading (row-to-row, near shading objects); Tracker (stalls, angles, comms); String issues (outages; normalized underperformance); Inverter issues (outages; normalized underperformance; degradation) | No | Embedded in the platform UI/help center | Methods include industry standards, peer-reviewed publications from the field, our own peer-reviewed publications (see https://enurgen.notion.site/publications), independent validations (underway; to be published), and internal novel approaches. | Partially (both raw and processed time series data are available from the platform, and sufficient documentation exists for some KPIs but not yet all) | Subscription per MW;Subscription per month/annual;Custom enterprise agreements | Not for public release | Yes. Unlimited technical support is available to maximize the impact to operational assets. | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | DUET is an entirely novel model design, engineered for 3D bifacial systems. Expandable to GW-scale utility systems. Physics-based models only; no empirical de-rate factors required. Model continuity: digital asset follows the model from design and optimization, to construction and capacity testing, to operational lifetime. Highly detailed, cell-to-system modeling approach. High spatial and temporal resolutions. Client support throughout the system lifecycle. High responsivity to client requests for new features or custom capabilities. We consider our clients to be our partners, striving to deliver maximized returns for their assets.
Gantner.webportal | 2025-10-02 | Gantner Instruments Environment Solutions GmbH | 2011 | V3.2.4 | 6,5 GW, 344 sites. More than 40.000 Tracker available (in 168 sites) | Europe | Both | https://www.gantner-environment.com/en/products/software/gantner-webportal | An integrated solution offering both monitoring and analytics | Yes | N/A | No | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Financial reporting;Performance guarantees and contractual metrics;Predictive maintenance;Mobile field inspections (e.g., barcode scans, cable/connectors, string mapping);3D plant representation | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers;Technicians;EPCs or developers | < 1 week | 2-7 days | Fully manual by provider | SCADA or monitoring system data;Meteorological data;DC level measurements;AC level measurements;Layout or as-built files;Spec sheets;IV curve data;Thermography data;Power meter or utility data;API keys or credentials from 3rd party monitoring system/SCADA;Single-axis tracker data (e.g., rotation) | Market pricing;Forecasting;PV design providers;CMMS;ERP;Satellite data | CMMS;SCADA historians;ERP;General export via API;Asset management platforms;Other analytics | CSV;JSON;XML;Excel;.DWG | 1) Monitoring/ingestions (e.g., 1 sec, 1 min): 1min 2) Analytics/calculations (e.g., 15 min, hourly, daily): 1min 3) Data storage/archiving (e.g., 15 min, hourly, full raw, etc.): 1min 4) Any other comments: 1Hz data, event based for e.g. charging conditions | Yes | Yes, there is no additional charge. | Range checks;Cross-sensor consistency;Model-based checks;Statistical methods;Physical meaning full values, sanity check for all input data.Â | Automated alarms;QA dashboards;Raw data is not changed; we flag and filter out erroneous data | Imputation (e.g., replace missing data with modeled data, or a statistical approach);Filtering out;It is tracked and tagged | Yes | Yes | RGB;Satellite;Interfaces e.g. to providers like sitemark | Aerial orthoimagery;Digitized plant layouts (e.g., by inverter, string, module) | Yes | The Digital Twin in Gantner.webportal is a virtual replica of a real solar system such as a photovoltaic plant, solar park, or building-integrated PV system. It mirrors the physical asset digitally and connects it with real-time data and simulation models to monitor, analyze, and optimize performance. Mechanistic Performance Model (MPM). MPM assigns a meaningful normalized coefficient to expected performance behavior to fit observed measurements with understandable loss coefficients | Predictive analysis | Empirical model (e.g., fitted on operational data) | Receive real-time data from the plant?;Push commands to equipment (e.g., request IV curves, reset inverter)?;Display historical performance and faults geographically or temporally? | Yes | Physics-based model trained on operating data | Yes | Weather;External curtailment;Inverter clipping;Proforma losses (e.g. derates);External losses (e.g., grid unavailability or others please specify);Data resolution (e.g., hourly to subhourly clipping bias);Yes, grid unavailability | Time-based availability;Energy-based availability;Tracker-based availability;Energy Performance Index (EPI);Performance Ratio (PR);Weather-adjusted PR;Capacity Factor;Specific Yield (kWh/kWp);Irradiation weighted, temperature weight DC parameters | Yes | Yes | Yes | Fault classification;Anomaly detection from time series;Imagery analysis;Performance prediction;Predictive maintenance;Data quality and/or ingestion |  | Soiling;Snow;Degradation (please specify);Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);String issues (please specify);Ground faults;Connector issues;Inverter issues (please specify);Curtailment;Grid issues | Yes | Available to users | standards IEC, Expert validation, Juergen Sutterlueti, SolarGIS, PVSyst, Sandia, SRCL | Yes | One-time onboarding/setup fee;Subscription per MW;Subscription per month/annual | 1) Onboarding/initial setup per MW or site (up to 1 GW total fleet or 20 x 50 MW sites: EUR 400+(EUR 60*MW)/ once 2) Ongoing subscription per MW per year (up to 1 GW total fleet): EUR 200/MW 3) Example scenario: 100 MW plant in California 3a) Onboarding/setup fee: EUR 6400 once 3b) Ongoing subscription per MW per year: EUR 20000 per year | Limited hours or response time | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation;No formal training provided | We leverage advanced machine learning methods, such as XGBoost, for feature selection and TensorFlow/Keras-based deep learning models, to deliver highly accurate power consumption forecasting. This allows us to capture complex, non-linear relationships in historical and real-time data (e.g., weather, load patterns, operational signals) and deliver reliable short-term and long-term forecasts. Combined with our digital twin and optimization framework, this ensures more precise scheduling, better integration of renewables, and improved grid stability. System is scalable and can be fast expanded with required interfaces and features
Maximo Application Suite | 2025-10-20 | IBM | 1985 | 9.1 | 130+ | North America | Both | https://www.ibm.com/products/maximo | Asset management | Yes. Maximo has a configurable Python engine that could support any Python library. Support for the libraries is not native. | N/A | No | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Financial reporting;Performance guarantees and contractual metrics;Predictive maintenance;Mobile field inspections (e.g., barcode scans, cable/connectors, string mapping) | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers;Technicians | 1-3 months | Timeline will vary based on the requirements of each individual plant. Factors include things like existing monitoring device infrastructure, monitoring requirements, data availability and quality. | IBM provides a mix of all of the above. Integration will vary based on the existing state of monitoring infrastructure that Sandia has. We have out of box connectors, REST APIs, partners who can bring in monitoring equipment and more. | I wouldn't say any of these are required, but IBM supports all of them. The main factor is the state of the monitoring infrastructure (are there sensors or OT devices like scada, metering systems etc. what protocols do they communicate in, is the data accessible via REST etc.) | Market pricing;Forecasting;PV design providers;CMMS;ERP;Satellite data | CMMS;SCADA historians;ERP;General export via API;Asset management platforms;Robotics or autonomy platforms;Other analytics;PV design providers | CSV;JSON;XML;Excel | 1. 1 sec 2. 5 minutes 3. full raw depending on the requirements of the workload | Yes | This is possible, there is not a charge to export data from the system. | Range checks;Cross-sensor consistency;Model-based checks;Statistical methods | Automated alarms;QA dashboards;Anomaly Detection algorithms | Imputation (e.g., replace missing data with modeled data, or a statistical approach);Filtering out;custom formula based on Python entered by user | Yes | You can configure the level of desired granularity | RGB;Infrared;Electroluminescence/Photoluminescence;LIDAR;Satellite |  | No | IBM can integrate our asset management, monitoring, and predictive maintenance platform with digital twin platforms. |  |  |  | Yes | IBM's platform has a user tailorable analytics engine where Sandia could compute expected yield or any other desired metric with a rules based analytics calculation and/or machine learning or regression models trained on past data | Yes | Weather;External curtailment;Inverter clipping;Proforma losses (e.g. derates);External losses (e.g., grid unavailability or others please specify);Data resolution (e.g., hourly to subhourly clipping bias) | Time-based availability;Energy-based availability;Tracker-based availability;Energy Performance Index (EPI);Performance Ratio (PR);Weather-adjusted PR;Capacity Factor;Specific Yield (kWh/kWp);IBM has a rules based analytics engine that allows you to define capture and measure any Key performance indicator desired. | Yes;IBM has a rules based analytics engine that allows you to define capture and measure any Key performance indicator desired. | Yes;IBM has a rules based analytics engine that allows you to define capture and measure any Key performance indicator desired. | Yes | Fault classification;Anomaly detection from time series;Imagery analysis;Performance prediction;Predictive maintenance;Data quality and/or ingestion | We support a variety of algorithms including linear regression, gradient boosted decision trees, Yolo V3 to detect anomolous behavior, predict asset failure, and look for defects in image or video footage respectively. | Hotspots;Cracks;Delamination;Bypass diodes failures;Soiling;Snow;Degradation (please specify);Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);String issues (please specify);Ground faults;Connector issues;Inverter issues (please specify);Curtailment;Grid issues | Yes | IBM has a rules based analytics engine that allows you to define capture and measure any Key performance indicator desired. That business logic is viewable by users. | A mix of all of the above | IBM does not calculate expected yield out of box. IBM supports an out of box configurable analytics engine that would enable to define measure and track based on their requirements. | One-time onboarding/setup fee;Subscription per MW;Subscription per month/annual;Custom enterprise agreements;Annual perpetual licenses, software as a service, potentially other models | IBM needs move information to provide an appropriate cost for Sandia. We are happy to support a phone call to come up wit hpricing. | Yes | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation;IBM provides virtual, in person, or hybrid training options. IBM is able to tailor training to Sandia's needs based on key requirements. | IBM has 40+ years in the asset management space. We have over 3000 customers worldwide, which includes hundreds of utility customers. IBM provides an open REST API architecture that allows for data integration to/from any system. We are equipment and data agnostic and can capture any data Sandia needs based on their requirements so that they can use the out of box analytics and dashboarding engine to build tailored reports, dashboards, alerts, and macine learning algorithms to meet needs around expected yield and other key variables. IBM supports computer vision AI, predictive maintenance, equipment monitoring, enterprise asset management all in one platform. Sandia currently uses our IBM Maximo Asset Management capabilities today. It would speed up time to onboard to our advanced analytics capabilties to increase an existing investment and get a higher ROI.
Mana Monitoring | 2025-10-14 | Mana Energy | 2017 | 3 | 1 GW , 3000 sites | North America | Both | mana.solar | An integrated solution offering both monitoring and analytics | no | no | No | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;O&M ticketing/workflows;Reporting and dashboards;Financial reporting;Performance guarantees and contractual metrics | O&M providers;IPPs/Asset Owners;Asset managers;Technicians | < 1 month | 1 day | Semi-automated (e.g., UI-based data ingestion) | SCADA or monitoring system data;AC level measurements;Layout or as-built files;Spec sheets;Power meter or utility data;API keys or credentials from 3rd party monitoring system/SCADA | PV design providers;CMMS;Satellite data | CMMS;SCADA historians;General export via API;Asset management platforms;PV design providers | CSV;JSON;XML;Excel | Monitoring/ingestions: 1min, Analytics/calculations 15min, Data storage/archiving: hourly | Yes | yes, no charge at the moment | Range checks;Cross-sensor consistency | Automated alarms | Filtering out | Yes | no |  |  | No |  |  |  |  | Yes | Physics-based model trained on operating data | Yes | Weather | Time-based availability;Energy-based availability;Performance Ratio (PR);Weather-adjusted PR;Capacity Factor;Specific Yield (kWh/kWp) | No | Yes;TPO estimated revenue vs actual, losses based on PPA rate | Yes | Anomaly detection from time series |  | Soiling;Snow;Degradation (please specify);Shading (please specify, e.g., vegetation, row-to-row, horizon);Inverter issues (please specify);degradation comparison to baseline and inverter fault ingestion | Yes | Available to users | Mostly NREL metrics | Yes | One-time onboarding/setup fee;Subscription per MW;Subscription per month/annual | 1. $0.3 per kWp , 2. $240/yr/MW, 3. setup: $30k, SaaS: $24k/yr | Yes | Built-in tutorials or guided onboarding | largest 3rd party API library and integrated O&M workorder management and subcontractor management
Unity | 2025-09-05 | Power Factors | 2023 | N/A | 300 | North America | Utility | https://www.powerfactors.com/unity | An integrated solution offering both monitoring and analytics |  |  | No | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Financial reporting;Performance guarantees and contractual metrics;Predictive maintenance;Mobile field inspections (e.g., barcode scans, cable/connectors, string mapping);Compliance / Commercial Asset Management | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers | < 1 month | Greatly depends on the size of the asset and # of tags. In general, 1-2 weeks is a reasonable assumption. | Semi-automated (e.g., UI-based data ingestion) | SCADA or monitoring system data;Meteorological data;DC level measurements;AC level measurements;Layout or as-built files;Spec sheets;Power meter or utility data;API keys or credentials from 3rd party monitoring system/SCADA;Single-axis tracker data (e.g., rotation) | Market pricing;Forecasting;CMMS;ERP;Satellite data | CMMS;SCADA historians;ERP;General export via API;Asset management platforms;Other analytics | CSV;JSON;XML;Excel | 1 sec | Yes | Yes, commercials depend on MSA | Range checks;Cross-sensor consistency;Model-based checks;Statistical methods;Proprietary validation and estimation engine | Automated alarms;QA dashboards;can see data flags in trended data, reports, dashboards, and other places | Imputation (e.g., replace missing data with modeled data, or a statistical approach);Filtering out;can auto-replace, manually backfill, or estimate using peers or other sources | Yes | Yes, every time stamp's source can be traced. raw data is preserved, "final" data is labeled as such and data sources are flagged as well | RGB | Aerial orthoimagery;SLD / schematic view when controls are implemented | Yes | Modeled performance based on customizable inputs | Simulation/modeling | can accommodate several different models | Receive real-time data from the plant?;Push commands to equipment (e.g., request IV curves, reset inverter)?;Display historical performance and faults geographically or temporally? | Yes | all of the above | Yes | Weather;External curtailment;Inverter clipping;Proforma losses (e.g. derates);External losses (e.g., grid unavailability or others please specify);Data resolution (e.g., hourly to subhourly clipping bias) | Time-based availability;Energy-based availability;Tracker-based availability;Energy Performance Index (EPI);Performance Ratio (PR);Weather-adjusted PR;Capacity Factor;Specific Yield (kWh/kWp) | Yes;SOC, SOH, thermal excursions, round trip efficiency, predictive fault detection, and more | Yes;can do flat rate or ingest market pricing | Yes | Fault classification;Anomaly detection from time series;Predictive maintenance;Data quality and/or ingestion | Predictive fault detection for wind turbines based on thermal anomalies. Predictive fault detection for BESS based on SOC/SOH variations. | Soiling;Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);Inverter issues (please specify);Curtailment;Grid issues | Yes | Shared upon request under NDA | Depends on the analytics, some customization is available and some based on industry standards | Yes | Not for public release | requires NDA | Yes | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | Data management / validation, industry experience, scalability, flexibility, client base.
PowerUQ | 2025-10-21 | PowerUQ | 2024 | v0.11.0 | - | North America | Both | www.poweruq.com | Uncertainty quantification for credible lifetime energy generation estimates | yes, pvlib-python | - | No | Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Financial reporting;Performance guarantees and contractual metrics | IPPs/Asset Owners;Asset managers;Performance engineers;EPCs or developers;Banks, Insurance | < 1 week | 2-7 days | Semi-automated (e.g., UI-based data ingestion) | Meteorological data;Spec sheets;IV curve data;Power meter or utility data;API keys or credentials from 3rd party monitoring system/SCADA;Uncertainty estimates from datasheets/ tests | Market pricing;PV design providers;Satellite data | Export to spreadsheet to be used in financial models | CSV;JSON | Analytics/calculations (30min, hourly, daily, yearly) | No | No | Model-based checks;Statistical methods | Automated alarms | Imputation (e.g., replace missing data with modeled data, or a statistical approach);Filtering out | No |  |  |  | No |  |  |  |  | Yes | pro-forma model from design and uncertainty model for risk layer | Yes | Weather;External curtailment;Inverter clipping;Proforma losses (e.g. derates);Data resolution (e.g., hourly to subhourly clipping bias) | Specific Yield (kWh/kWp);project lifetime typical and downside generation profile | No | Yes | Not yet but on roadmap | Data quality and/or ingestion |  | uncertainty impacts | No | Shared upon request under NDA | independently validated, Guide on Uncertainty Measurements (GUM), NASA uncertainty guidance | No | Subscription per month/annual;Pay-per-use (e.g., per report, inspection, or analysis);Custom enterprise agreements | confidential | Premium support available for extra cost | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | After over a year of R&D, we developed in-house methods that enable PowerUQ to quantify risk in solar generation adopting tried and tested UQ methods from space/nuclear sciences. PowerUQ is first of its kind risk modeling layer for credible generation forecasts for solar power plants revealing the model bias that can persist over project life if not accounted for. This model bias has already been observed in solar portfolios resulting in 6-8% shortfalls, leaving $100m/GW of value at risk.
Proximal Energy | 2025-09-10 | Proximal Energy, Inc. | 2024 | 2025.09.09 | 3.5 GW, 29 sites | North America | Utility | https://proximal.energy/ | Monitoring, analytics and asset management |  |  | No | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;Reporting and dashboards;Performance guarantees and contractual metrics | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers;Technicians;EPCs or developers | < 1 week | 1 day | Semi-automated (e.g., UI-based data ingestion) | SCADA or monitoring system data;Meteorological data;DC level measurements;AC level measurements;Layout or as-built files;Spec sheets;Power meter or utility data;API keys or credentials from 3rd party monitoring system/SCADA;Single-axis tracker data (e.g., rotation) | CMMS;Drone inspections | General export via API | CSV;JSON;Excel;GEOJSON | 1) 1 sec 2) 1 min 3) 1 sec | Yes | Yes, at no additional charge. | Range checks;Cross-sensor consistency;Model-based checks | Quality flag in data | Imputation (e.g., replace missing data with modeled data, or a statistical approach) | Yes | Generic | RGB and Infrared, but through integration with drone inspection provider. | Digitized plant layouts (e.g., by inverter, string, module) | Yes | Virtual model of the entire electrical and mechanical structure of a plant, designed to simulate and calculate power flows throughout the system based on weather and other input data. | Simulation/modeling | Simulation model (e.g., PVWatts, PlantPredict) | Receive real-time data from the plant?;Display historical performance and faults geographically or temporally? | Yes | As-built model separate from pro-forma | No | Weather;Inverter clipping;Proforma losses (e.g. derates);Data resolution (e.g., hourly to subhourly clipping bias) | Time-based availability;Tracker-based availability;Performance Ratio (PR);Specific Yield (kWh/kWp) | Yes;Permutations of avg/min/max/total string/bank/system soc/soh/V/energy charged/energy discharged/etc. | No | Yes | Analytics on-demand (via chat interface), key information extraction from contracts, voice chat with contracts. | Analytics on-demand (via chat interface), key information extraction from contracts, voice chat with contracts. | Hotspots;Cracks;Delamination;Bypass diodes failures;Soiling;Snow;Degradation (please specify);Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);String issues (please specify);Ground faults;Connector issues;Inverter issues (please specify);Curtailment;Any DC field related issues - via drone integrations | No | Publicly available | Peer reviewed -> using pvlib | Partial. Recently added many new KPIs that need docs pages to be created still. Ongoing effort! | Subscription per MW | 1) $0 2) ~$250/MW/yr 3a) $0 3b) ~$250/MW/yr | Yes | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | We listen to our customers and have a quick development turnaround for new features Low customer effort required for onboarding Low-latency Voice chat with contracts LLM-powered feature extraction from contracts Contractual KPIs (track performance obligations as defined in contracts) Integrations with external CMMS providers & drone inspections Open/transparent expected energy model Expected energy model at every combiner Industry experts on staff
Quadrical Ai | 2025-09-29 | Quadrical Inc | 2019 | Version 17 | 6.5GWs at 1600 Solar sites + 6000MWh Storage + 200 MW Wind Sites | Asia | Both | www.quadrical.ai | Quadrical provides an integrated solution that combines monitoring, ticketing, reporting, and advanced analytics, all built into a comprehensive asset management platform, including CMS and CMMS. Add-ons: Hardware [DAS] in partnership with r3 Think Labs and ContractPower for contract compliance and management. | Yes we use pvlib-python and PVAnalytics functions. | pvlib.clearsky pvlib.location.Location pvlib.temperature.faiman pvlib.temperature.prilliman pvlib.iam.physical, pvanalytics.features.clipping.geometric | Not required, but Quadrical Historian, RTU & DAS are available if needed. | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Financial reporting;Predictive maintenance;- Automated Daily breakdown of losses, - 2D geo plant representation - Automated monthly plant audit, - Clustering of Issues, - Integration with Mobile field inspections. - Agents + Root Cause Analysis - Work Order Creation - Integrated with AI-based compliance management | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers;Technicians;O&M Managers | If above 500MWs then 2 weeks with data checklists | 1-12 hours | Hybrid System, Automated at our end, and we provide 100% support for customers | SCADA or monitoring system data;Meteorological data;DC level measurements;AC level measurements;Layout or as-built files;Spec sheets;IV curve data;Thermography data;Power meter or utility data;API keys or credentials from 3rd party monitoring system/SCADA;Single-axis tracker data (e.g., rotation);Dual Axis tracker data | Market pricing;Forecasting;PV design providers;CMMS;ERP;Satellite data | CMMS;SCADA historians;ERP;General export via API;Asset management platforms;Other analytics | CSV;JSON;XML;Excel;ODPC, MODBUS, FTP, OPC-UA | - Monitoring/ingestions (e.g., 1 sec, 1 min): ______1 sec - Analytics/calculations (e.g., 15 min, hourly, daily): __1 sec - Data storage/archiving (e.g., 15 min, hourly, full raw, etc.): ___full raw | No | Yes, it is possible, we provide an API for an additional cost of USD 1400 / Site. | Range checks;Cross-sensor consistency;Model-based checks;Statistical methods | Automated alarms;Groups of alarms are clustered. Tickets automatically issued and prioritized by revenue impact. | Imputation (e.g., replace missing data with modeled data, or a statistical approach);Filtering out | Yes | We do not label every time timestamp but provide a generic data quality report. | N/A | Digitized plant layouts (e.g., by inverter, string, module) | Yes | Quadrical Digital Twin is an accurate, real-time virtual replica of a physical renewable asset. Each twin is a unique instance for each physical device, designed so that its response to external stimuli mirrors the actual asset. Our AI-driven Digital Twins operate on a Dynamic Environment - Action - Response model, continuously learning from operations data to capture the best possible behavior of the asset. This creates a granular, accurate benchmark against which real-world performance can be measured. Different AI models are applied to represent specific use cases-shading, soiling, insulation faults, degradation, and more-making our Digital Twins both dynamic and purpose-built. | All of these: Simulation/modeling ¦ Real-time status mirror ¦ Predictive analysis | Data-based dynamic digital twin | Receive real-time data from the plant?;Display historical performance and faults geographically or temporally? | Yes | All of above | Yes, every baseline can be persisted as a separate KPI and compared. | Weather;External curtailment;Inverter clipping;Proforma losses (e.g. derates);External losses (e.g., grid unavailability or others please specify);Data resolution (e.g., hourly to subhourly clipping bias) | Time-based availability;Energy-based availability;Tracker-based availability;Energy Performance Index (EPI);Performance Ratio (PR);Weather-adjusted PR;Capacity Factor;Specific Yield (kWh/kWp);Reference Yeild, Inverter Energy Production | Yes;Availability, Capacity, Imbalance loss, SOH, Anomaly scores for physical measurement. | Yes;We have the KPI for energy lost in kWh which can be translated to $ by multiplying with per unit cost as in PPA | Yes | Fault classification;Anomaly detection from time series;Performance prediction;Predictive maintenance;Data quality and/or ingestion | 1. Fault classification - Classification models are available for device logs to identify root cause events for down the line failures. 2. Anomaly detection from time series â€“ Regression models are available for benchmark device performance to detect various faults by automated analysis of deviation between actual and predicted baseline. 3. Performance prediction â€“ Equipment specific/Plant yield forecast using LSTM or regression models 4. Predictive maintenance â€“ Thermal anomaly detection is available for predictive maintenance of batteries. 5. Data quality and/or ingestion â€“ Data quality analysis on Plant/Inverter/WMS level based on statistical methods. | Soiling;Snow;Degradation (please specify);Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);String issues (please specify);Ground faults;Connector issues;Inverter issues (please specify);Curtailment;Grid issues;No classification, only alerts | Yes : On Quadrical platform or Can also be exported to outside CMMS | Available to users | - Based on industry standards e.g., IEC (please specify) IEC 61724-1, IEC 61724-2, IEC 61724-3 - Independently validated | Yes | One-time onboarding/setup fee;Subscription per MW;Subscription per month/annual;Pay-per-use (e.g., per report, inspection, or analysis);Custom enterprise agreements;Not for public release | not for public release | Yes | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | 1. Rapid Onboarding - Fast Value - 1 GW in 1 Month 2. Daily Assessment of Losses 3. Automated monthly plant audit 4. Heatmaps on the plant 5. Fully automated - revenue prioritised - ticketing with ticket views. 6. Assessing Soiling Loss in utility-scale PV plants
The Autonomous Operations Center, AOC | 2025-09-24 | raicoon GmbH | 2021 | 2 | 1,2 | Europe | C&I | www.raicoon.com | World's first Autonomous Operations Center, for Asset Management and Operations Management | No | N/A | No | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Financial reporting;Performance guarantees and contractual metrics;Predictive maintenance;Mobile field inspections (e.g., barcode scans, cable/connectors, string mapping);Autonomous Operations | O&M providers;IPPs/Asset Owners;Asset managers;Technicians | < 1 week | 1 day | Semi-automated (e.g., UI-based data ingestion) | Minimum of a power meter or AC level measurement. The more info, the faster and more accurate the results are | Market pricing;PV design providers;CMMS;ERP;Satellite data | General export via API | CSV;JSON;XML;Excel;PVCollada (.pvc);.DWG | 5 min | Yes | Yes, no additional charge | Range checks;Statistical methods | Automated alarms | Filtering out | No |  |  |  | Yes | highly accurate simulation/prediction of power and energy based on actual sensor inputs | Real-time status mirror | real time sensors based simulation and device behavior model (ML) | Receive real-time data from the plant?;Display historical performance and faults geographically or temporally? | Yes | combined ML and physics-based | Yes | Weather;External curtailment;Proforma losses (e.g. derates);External losses (e.g., grid unavailability or others please specify) | Time-based availability;Energy-based availability;Performance Ratio (PR);Weather-adjusted PR;Specific Yield (kWh/kWp) | No | No | Yes | Anomaly detection from time series;Performance prediction;Predictive maintenance |  | Soiling;Snow;Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);String issues (please specify);Ground faults;Inverter issues (please specify);Curtailment;Grid issues;micro outages, recurrent faults | Yes | Embedded in the platform UI/help center | independently validated | partially | One-time onboarding/setup fee;Subscription per MW;Custom enterprise agreements;Not for public release | depends | Yes | Live training sessions;Knowledge base or documentation | Autonomous Operations! Performance Guarantee available.
Raptor Solar | 2025-10-10 | Raptor Maps | 2015 | 2 | 250GW of PV assets analyzed to-date across 6000+ sites; Autonomous robotics deployed across 10GW | North America | Both | raptormaps.com | Combination of multiple above: monitoring/analytics, imaging analytics, automated/manual field work, asset management as well as software layer for robotics to operate on solar farms | Yes. Yes, we use pvlib-python. Specifically we use the GFS forecast model. | N/A | Digital Twin requires only browser or mobile device. Visual data collection requires manually or autonomously operated drones and other robotics | Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Predictive maintenance;Mobile field inspections (e.g., barcode scans, cable/connectors, string mapping);Map-based Digital Twin for intuitive interaction with data from the site (sensor, images, field notes, etc) | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers;Technicians;EPCs or developers | < 1 week if just data, and < 1 month if hardware is to be installed at customer site | < 1 week if just data, and < 1 month if hardware is to be installed at customer site | All of the above based on customer preference, but semi-automated is most common | Layout or as-built files;Only as-builts or layouts are required to onboard, but others can be imported to increase platform capability | CMMS;ERP;Satellite data | General export via API;Robotics or autonomy platforms | CSV;JSON;XML;Excel;.DWG | not for public release | Yes | Export capability same as above | not for public release | not for public release | not for public release | No |  | RGB;Infrared;Satellite | Aerial orthoimagery;Digitized plant layouts (e.g., by inverter, string, module); area-based locations, visualized through polygons on a map (e.g. for denoting erosion issue, area impacted by thermal event) | Yes | A Digital Twin is a digital reconstruction of a solar asset at equipment-level granularity, geospatially-enabled, and with spatial modeling. It serves as a system of record where users can easily associate data (such as images, field notes, readings, sensor data, etc.) to precise equipment or spatially-defined areas of interest on a solar. Our map-based Digital Twin is able to visualize and present data across multiple types of equipment on-site (such as module, string, combiner, tracker, connector, substation, point of interconnection poles, etc.) and different environmental & spatially-defined points of interest (such as erosion, SWPPP BMPs, vegetation, thermal events, fenceline), providing users with an intuitive interface to access up-to-date insights, prioritize action, and orchestrate work across technicians and robots on-site. | Real-time status mirror | as-built, operational data, visual data, spatial data | Receive real-time data from the plant?;Display historical performance and faults geographically or temporally? | Yes | Proforma model from commissioning/design |  |  | Time-based availability;DC performance by % of total capacity loss | No | Yes; estimated revenue loss from capacity loss | Yes | Fault classification;Anomaly detection from time series;Imagery analysis;Data quality and/or ingestion |  | Hotspots;Cracks;Delamination;Bypass diodes failures;Soiling;Snow;Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);String issues (please specify);Ground faults;Connector issues;Inverter issues (please specify);Entire module outages, Junction Box issues, Combiner issues, Lightning damage, PID, Optimizer issues | Yes | n/a | Our menu of 20+ visual analytics includes an IEC compliant aerial thermography inspection R&D with OEM partners, internal, and customers | n/a | Not for public release | not for public release | not for public release | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | Our platform is purpose-built for solar, which has allowed R&D and solution development to develop a wide breadth and depth of solar-specific use cases. Robotics integration: we have deployed autonomous drones on more than 11GW of solar assets to-date. Digital Twin: our map-based Digital Twin is able to visualize and present data across multiple types of equipment on-site (such as module, string, combiner, tracker, connector, substation, point of interconnection poles, etc.) and different environmental & spatially-defined points of interest (such as erosion, SWPPP BMPs, vegetation, thermal events, fenceline), providing users with an intuitive interface to access up-to-date insights, prioritize action, and orchestrate work across technicians and robots on-site. Menu of 20+ Inspection Types: our platform supports a wide range of imaging analytics through inspections conducted either through manually or autonomously operated robotics. The platform supports inspections across multiple types of equipment and spatially-bound areas of interest Inspection types include: Erosion / SWPPP Compliance Construction Progress Monitoring Capacity Testing Vegetation Height Tracker Malfunction Wiring Inspection IEC Compliant Aerial Thermography Substation Inspection Site Conditions Assessment Night Security Inverter Pad Inspection etc. Customer safety: software automation, such as geo-fencing for mission planning, and our team of FAA-certified ROC operators ensure safe operations. Moreover, the robot can act as a first responder to events on-site, such as during a thermal event or after a storm. For example, sites with autonomous drones deployed are able to launch a â€œlivestream missionâ€ on-demand, providing users with a view of real-time conditions on-site without exposing staff to potentially hazardous conditions.
Sitemark | 2026-02-19 | Sitemark | 2016 | We have daily updates, no versioning. | 250GW, 12000 sites | North America | Both | https://www.sitemark.com | Sitemark combines image analytics, work and asset management in one platform. | No | No | When using drone analytics, customers can choose to operate their own drone hardware, or rely on Sitemark's drone service provider network | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Predictive maintenance;Mobile field inspections (e.g., barcode scans, cable/connectors, string mapping);3D plant representation | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers;Technicians;EPCs or developers | < 1 week | < 1 hour | Semi-automated (e.g., UI-based data ingestion) | Layout or as-built files;Spec sheets;API keys or credentials from 3rd party monitoring system/SCADA | PV design providers;CMMS;ERP;Satellite data | CMMS;SCADA historians;ERP;General export via API;Asset management platforms;Robotics or autonomy platforms;Other analytics;PV design providers | CSV;JSON;XML;Excel;PVCollada (.pvc);.DWG | 1) Monitoring/ingestions: 1 sec 2) Analytics/calculations: 1 sec 3) Data storage/archiving: full raw | Yes | Yes, possible, at no extra cost | Range checks;Cross-sensor consistency | Automated alarms;QA dashboards | Imputation (e.g., replace missing data with modeled data, or a statistical approach);Filtering out | Yes |  | RGB;Infrared;Electroluminescence/Photoluminescence;LIDAR;Satellite | Aerial orthoimagery;3D models;Digitized plant layouts (e.g., by inverter, string, module) | Yes | At Sitemark, a Digital Twin is a virtual replica of an asset that integrates geospatial, electrical, and mechanical models with real-time and historical data from design, construction, and operations. | A single source of truth across the lifecycle of a renewable energy plant, unifying asset management, work management, quality control, progress tracking, and inspections. | Geospatial, mechanically and electrically modeled. | Receive real-time data from the plant?;Push commands to equipment (e.g., request IV curves, reset inverter)?;Display historical performance and faults geographically or temporally? | No | Proforma model from commissioning/design |  |  | Sitemark integrates monitoring data from third party monitoring tools, which includes some of these KPI's | No | Yes; estimated capacity, power and financial loss | Yes | Fault classification;Anomaly detection from time series;Imagery analysis;Performance prediction;Predictive maintenance;Data quality and/or ingestion | Detection of performance problems in thermal imagery, detection of deviations in piling during construction, ... | Hotspots;Cracks;Delamination;Bypass diodes failures;Soiling;Snow;Degradation (please specify);Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);String issues (please specify);Ground faults;Connector issues;Inverter issues (please specify);Curtailment;Grid issues | Yes | Available to users | Some of our analytics are IEC based | Yes | Subscription per MW;Pay-per-use (e.g., per report, inspection, or analysis) | Pricing is not for public release | Yes | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | Sitemark stands out because we deliver a next-generation digital twin platform that is: - Holistic - covers the full lifecycle of renewable energy assets, from construction to long-term operations. - Data-Driven - integrates geospatial, electrical, and mechanical models with monitoring and inspection data. - Flexible - adapts to customer workflows with high configurability and open APIs. - Trusted - proven at global scale with industry-leading customer satisfaction.
Spectra | 2025-09-18 | Skylark Drones | 2018 | SaaS - Continuously Improved, no static version | ~4GW, 30+ sites | Asia | Utility | https://www.skylarkdrones.com/spectra | Focused on imaging analytics |  |  | Supports self-served and Service models | Daily monitoring;Health-state assessment;Reporting and dashboards | O&M providers;IPPs/Asset Owners;Asset managers | For thermography Inspections - < 1wk ; For Drone in a box monitoring - longer based on asset size | Roughly the same as the previous response | Semi-automated (e.g., UI-based data ingestion) | SCADA or monitoring system data;Layout or as-built files;Thermography data | Satellite data | General export via API | CSV;JSON;.DWG | 1) Monitoring/ingestions (e.g., 1 sec, 1 min): NA 2) Analytics/calculations (e.g., 15 min, hourly, daily): Daily, Weekly 3) Data storage/archiving (e.g., 15 min, hourly, full raw, etc.): NA 4) Any other comments: Drone in a box monitoring - based on customer requirements and contract | No | Yes, it is possible, we provide an API for an additional cost | quality checks from drone inputs with human review | QA dashboards | Filtering out | No |  | RGB;Infrared | Aerial orthoimagery;Digitized plant layouts (e.g., by inverter, string, module) | No | 3D model with geospatial and real time information overlays that can be toggled by the user. Additional integrations to show real time data and feedback into the real-world system. | 3D visualization |  | Display historical performance and faults geographically or temporally? | No |  |  |  | Losses | No | Expected Financial impact of thermography results | Yes | Fault classification | We use Custom pipeline to detect and classify defects and anomalies from radiometric thermal maps | Hotspots;Cracks;Bypass diodes failures;Snow;Shading (please specify, e.g., vegetation, row-to-row, horizon);String issues (please specify);vegetation shading, string breakdowns, PID | No | Shared upon request under NDA | IEC 62446-3 | No | Subscription per MW;Subscription per month/annual;Custom enterprise agreements;Not for public release | Not sharable at present | Yes | Built-in tutorials or guided onboarding;Live training sessions | Large scale radiometric thermal map generation with tens of thousands of images, wide support, comprehensive custom report generation module with plug and play features, defect localization, AI.
Autopilot | 2025-10-06 | SmartHelio PBC | 2022 (the analytics, however, was developed from 2019) | N/A | 6 GW, 400 sites | Africa | Both | https://smarthelio.com/ | An integrated solution offering both monitoring and analytics | Yes. Clearsky model and transposition models. | Model for making design or system level issues or losses (degradation, design issues, weather correction etc) | No | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Predictive maintenance | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers;Technicians;EPCs or developers | < 1 week | 1-12 hours | Fully automated (e.g., API) | SCADA or monitoring system data;Meteorological data;DC level measurements;AC level measurements;Layout or as-built files;Spec sheets;IV curve data;Power meter or utility data;API keys or credentials from 3rd party monitoring system/SCADA;Single-axis tracker data (e.g., rotation) | Market pricing;Forecasting;PV design providers;CMMS;Satellite data | CMMS;General export via API;Asset management platforms | CSV;JSON;Excel;.DWG | 1) Monitoring/ingestions (e.g., 1 sec, 1 min): 2) Analytics/calculations (e.g., 15 min, hourly, daily): 3) Data storage/archiving (e.g., 15 min, hourly, full raw, etc.) | No | Yes, it is possible. Export Data- user can him/herself (no additional cost). If migrating to another platform, additional cost will be levied but we do not have this use case yet, so no pricing has been fixed yet. | Range checks;Cross-sensor consistency;Model-based checks;Statistical methods | Automated alarms | Imputation (e.g., replace missing data with modeled data, or a statistical approach);Filtering out | Yes | label every timestamp | N/A | Digitized plant layouts (e.g., by inverter, string, module) | Yes | It is a mathematical model of a plant which represents its ideal physical situation at a given point in time. | Simulation/modeling | Empirical model (e.g., fitted on operational data) | Receive real-time data from the plant?;Display historical performance and faults geographically or temporally? | Yes | Physics-based model trained on operating data | Not currently, but this feature is in the works | Weather;Proforma losses (e.g. derates) | Performance Ratio (PR);Weather-adjusted PR;Specific Yield (kWh/kWp) | It is currently bring developed | Yes | Yes | Performance prediction;Predictive maintenance | We use LSTM and ANN/CNN for predicting specific types of inverter and connector failures. | Hotspots;Delamination;Bypass diodes failures;Soiling;Snow;Degradation (please specify);Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);String issues (please specify);Ground faults;Connector issues;Inverter issues (please specify);Curtailment;Grid issues;Degradation: We are able to identify any accelerated degradation rate of modules. Shading: Vegetation, Inter-row, Fixed object shading. Tracker: We are able to detect if tracker has stopped, or stops intermittently or does not follow its expected curve. String Issues: Disconnected strings, Longer DC cable run, Connector issues in string. Inverter Issues: Efficiency Issues, Inverter Heating, Inverter MPPT malfunction, Inverter Failure Prediction | Yes | Shared upon request under NDA | Independently validated as a part of our multiple R&D grants and in-house R&D on our test PV plants in Europe and Asia | No | One-time onboarding/setup fee;Subscription per MW;Pay-per-use (e.g., per report, inspection, or analysis);Custom enterprise agreements | Cannot disclose | Yes | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | Fault detection algortihms based on our 10+ years of R&D and ongoing testing of multi-fault scenarios created on our test PV plants in Europe and Asia.
SolarGrade | 2025-09-30 | SolarGrade, Inc. | 2022 | 2 | 80 GWs across nearly 20,000 projects. | North America | Both | www.solargrade.io | Focused on automated/manual field work (e.g., barcode scanning, CMS, connector inspection) | No | N/A | No proprietary hardware is required. Any iOS or Android device (any type) can run SolarGrade. | Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Mobile field inspections (e.g., barcode scans, cable/connectors, string mapping);3D plant representation | O&M providers;IPPs/Asset Owners;Asset managers;Technicians;EPCs or developers;technical advisors, ownerâ€™s engineers, independent engineers; subcontractors | < 1 week | Typically less than one hour. However, there is significant variability: Project creation can take as little as five minutes or several hours: it depends on the size and complexity of the specific site and the project stage. | We provide full-service onboarding as a premium service. Some elements of onboarding can be fully automated by API, but others must be completed within the SolarGrade platform. The lowest-cost option is semi-automated (includes .csv upload of project data). | Layout or as-built files;Site address and field documentation requirements are the only necessary data sources to onboard a site. Layout or as-built files are not required, but they are highly recommended. Uploading and geo-referencing drawings in SolarGrade allows users to access them from a map interface within the app in the field. They are also accessible via SolarGradeâ€™s PDF viewer, which works offline. Other information can be supplied but is not required. | PV design providers;CMMS;Satellite data;CRM data, quality standards, technical documentation, equipment data | CMMS;ERP;General export via API;Asset management platforms;Other analytics;We have an open API for custom integrations. | CSV;PDF, MS Word | Analytics/calculations (e.g., 15 min, hourly, daily) | We provide API documentation to users. It is available to other parties under NDA. | It is included in all Enterprise subscriptions. | User acceptance | Technicians flag anomalies observed in the field as issues using our mobile app. | It can be revised or rejected by admin users. | Yes | Yes, timestamps are labeled on all issues, photos, and informational items. Latitude/longitude is also provided. | RGB | Issues are geo-located manually by the user. | Yes | Our digital twin, SolarTwin, is a digital visualization of a solar asset with an integrated photo-based timeline of the projectâ€™s installation and maintenance history. Field reports are accessible from the timeline. | Work planning/dispatch | Empirical model (e.g., fitted on operational data) | Display historical performance and faults geographically or temporally? | No |  |  |  | Ticket close rates, Issues per project, Field risks by project, client, and vendor, Common field issues | No | No | Report generation | Summarizing fieldwork reports | We allow users to AI-generate summaries of fieldwork reports (i.e. O&M logs, construction progress reports, and other types of site visits) | Hotspots;Cracks;Delamination;Bypass diodes failures;Soiling;Snow;Degradation (please specify);Shading (please specify, e.g., vegetation, row-to-row, horizon);Tracker issues (please specify);String issues (please specify);Ground faults;Connector issues;Inverter issues (please specify);Curtailment;Grid issues;Issues of all types can be logged in SolarGrade, but none are detected automatically. | Yes | Available to users | We reviewed construction and O&M standards issues by NABCEP, NREL, Sandia, Solar Power Europe, IEC, UL for the development of SolarGrade, as well as regional electric codes and regulator requirements. | N/A | One-time onboarding/setup fee;Subscription per MW;Subscription per month/annual;Custom enterprise agreements;Users can choose between per-user and MW-based subscriptions. An optional onboarding fee applies to users who purchase premium onboarding and implementation support. Custom enterprise agreements are available for large subscriptions only (i.e., subscriptions valued over $30,000 per year). | Our costs range from $39/user/month for one user at our lowest-level subscription to over $150,000 for our highest-level, completely unlimited MW-based subscription. We do not charge onboarding fees unless our clients choose to purchase Premium Onboarding and Implementation Support, which is billed at 10% of total annual subscription costs. | Two hours of training and technical support are included in all subscriptions. Premium support (additional training, hands-on implementation execution)is also available for extra cost. | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | SolarGrade is the only software platform developed by renewable field engineers for on-site data collection by field workers. It ingests direct human observations - an inherently messy data source generated by people in the field - to generate actionable information about project conditions, construction quality, system health, and field team performance. Unlike other field data collection tools that digitize field work and automate reports, the app is designed specifically for solar and storage professionals: - Onboarding SolarGrade is fast because the renewable-ready platform includes field checklists that reference industry-specific technical standards and is structured for solar and storage assets. - The app is designed for ease of use at PV and BESS sites, which streamlines on-site data collection and ensures full adoption by field teams. By leveraging SolarGrade's API and data export tools, users can integrate structured field data from pre-construction through operations with any other data resource - from aerial thermography to performance data and project financials - for a complete picture of asset health.
Sixth Sense by Solarsquare | 2025-10-08 | SolarSquare Energy Pvt Ltd | 2024 | 1 | 25000 | Asia | C&I | https://sixthsense.solarsquare.in/ | An integrated solution offering both monitoring and analytics | Yes - Loss Analytics | Loss analytics | No | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Financial reporting;Performance guarantees and contractual metrics;Predictive maintenance;Mobile field inspections (e.g., barcode scans, cable/connectors, string mapping) | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers;Technicians;EPCs or developers | < 1 week | 1-12 hours | Semi-automated (e.g., UI-based data ingestion) | SCADA or monitoring system data;Meteorological data;Layout or as-built files;API keys or credentials from 3rd party monitoring system/SCADA | CMMS;ERP;Satellite data | CMMS;ERP;Asset management platforms;Other analytics | CSV;JSON;XML;Excel | 1) Monitoring/ingestions - 1 Minute 2) Analytics/calculations - 15 min, hourly & daily 3) Data storage/archiving - Daily | No | No Not permitted | Range checks;Cross-sensor consistency;Model-based checks;Statistical methods | Automated alarms;QA dashboards | Imputation (e.g., replace missing data with modeled data, or a statistical approach);Filtering out | No | Label every timestamp | None | None | Yes | electrical replica of the solar power plant | Predictive analysis | Empirical model (e.g., fitted on operational data) | Receive real-time data from the plant?;Display historical performance and faults geographically or temporally? | Yes | Physics-based model trained on operating data | Yes | Weather;External curtailment;Inverter clipping;Proforma losses (e.g. derates);External losses (e.g., grid unavailability or others please specify) | Time-based availability;Energy-based availability;Energy Performance Index (EPI);Performance Ratio (PR);Specific Yield (kWh/kWp) | No | Yes | Yes | Fault classification;Anomaly detection from time series |  | Soiling;Degradation (please specify);Shading (please specify, e.g., vegetation, row-to-row, horizon);String issues (please specify);Ground faults;Inverter issues (please specify);Grid issues | Yes | Not shared with Users | NA | NA | Subscription per MW;Not for public release | 3000/Site (Avg 4.5 kW) | Yes | Live training sessions | Residential focus and at scale deciding where to dispatch and troubleshoot
PowerTrack | 2025-10-31 | Stem, Inc. | 2008 | 2025.10.20.086665 | 33.9 | North America | Both | https://www.stem.com/products/powertrack-suite/ | An integrated solution offering both monitoring and analytics | No | N/A | No | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;O&M ticketing/workflows;Reporting and dashboards;Financial reporting | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers;Technicians;EPCs or developers | < 1 month | Often depends on client to provide information, install hardware and energize the site | Semi-automated (e.g., UI-based data ingestion) | site and inverter modeling info e.g. array tilt, capacity, inverter specs., location, etc. | Forecasting;Satellite data | General export via API | CSV;JSON;Excel | 1) Monitoring/ingestions (e.g., 1 sec, 1 min): 1s / raw 2) Analytics/calculations (e.g., 15 min, hourly, daily): 1 min. 3) Data storage/archiving (e.g., 15 min, hourly, full raw, etc.): varies 4) Any other comments: | Yes | Yes | Range checks;Cross-sensor consistency;Model-based checks;Statistical methods | Automated alarms;QA dashboards | Imputation (e.g., replace missing data with modeled data, or a statistical approach);Filtering out | Yes | quality report | N/A |  | Yes |  | Simulation/modeling | multiple options including empirical and simulation | Receive real-time data from the plant?;Push commands to equipment (e.g., request IV curves, reset inverter)?;Display historical performance and faults geographically or temporally? | Yes | Physics-based model trained on operating data | No | Weather;degradation | Time-based availability;Energy-based availability;Tracker-based availability;Energy Performance Index (EPI);Performance Ratio (PR);Weather-adjusted PR;Capacity Factor;Specific Yield (kWh/kWp) | Yes | Yes | Yes | natural language interface | to summarize site performance | Soiling;Snow;Degradation (please specify);Tracker issues (please specify);String issues (please specify);Inverter issues (please specify);Curtailment;Grid issues | No | Available to users | Many KPIs are based on industry standards such as IEC and ASTM | Not always | One-time onboarding/setup fee;Subscription per MW;Subscription per month/annual;Not for public release | Year 1 hardware and software and setup cost, then 1-5 year subscription for software | Yes | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | We provide a complete data acquisition solution (including hardware, SCADA) and are the standard platform trusted by many of the largest asset owners
Wattch | 2025-10-08 | Wattch | 2020 | 1 | ~750 MW, 1500 Sites | North America | C&I | https://wattch.io | Monitoring, analytics, controls (e.g. battery dispatch, tariff optimization) | Yes. Wattch uses algorithms based on pvlib-python but reimplemented from scratch to optimize for performance. We've also added additional model functionality based on papers from Sandia and NREL. | N/A | No, but additional functionality is unlocked with our hardware (e.g. instantaneous device checks, network scans, controls, etc) | Daily monitoring;Automated performance loss detection;Automated interpretation (i.e., classification) of performance losses;Work prioritization;Health-state assessment;Reporting and dashboards;Financial reporting;Performance guarantees and contractual metrics | O&M providers;IPPs/Asset Owners;Asset managers;Performance engineers;Technicians;EPCs or developers | Onboarding speed is nearly always limited by how quickly hardware can be installed. Each install should take 30-60 minutes on site, but depending on the size of the customerâ€™s portfolio and the availability of technicians, it can take many months to install hardware on every site. For customers using Wattch in a limited capacity without our hardware (â€œWattch Liteâ€) onboarding can be completed the same day. | < 1 hour | Onboarding is highly automatable but always requires a manual review of key configuration points. For example, devices can be discovered using a network scan and analytics can be configured by importing a design file, but if there are material differences between design and as-built, the Wattch or the customer will need to make small tweaks to the setup. | SCADA or monitoring system data;Meteorological data;DC level measurements;AC level measurements;API keys or credentials from 3rd party monitoring system/SCADA;Single-axis tracker data (e.g., rotation);Not all are technically required but improve what you get out of the platform | Forecasting;PV design providers;CMMS;ERP;Satellite data | CMMS;ERP;General export via API;Asset management platforms;Other analytics | CSV;Excel;PDF is an additional option for reports | 1) Monitoring/ingestion: 10sec in standard commercial offering, configurable to 1sec 2) Analytics/calculations: same resolution as underlying data. 3) Data storage/archiving: underlying resolution of data source, e.g. down to 1sec 4) Any other comments: historical data is not downsampled. All data is kept at full resolution for duration of the subscription | Yes, and it is included for free for customers (api.wattch.io) | Yes it is possible and no we do not charge. Both an in-platform account for the third party provider and API data egress are free options available to customers. | Range checks;By leveraging built in error detection in the underlying communications protocols (e.g. Modbus, TCP/IP, etc) and only integrating with digital sensing devices, we are able to lower the error rate on collected data to very nearly zero | Typically via the performance model at various layers (e.g. string-level, inverter-level, etc) | For replacing missing data, users can upload data to override collected data (tagged separately), and add exceptions for KPIs in certain ranges | Yes | Yes, exact time ranges are available to the user and changes can be undone |  | Digitized plant layouts (e.g., by inverter, string, module) | Yes | A digital twin combines a comprehensive model of a system's interconnected components with a real-time, physics-based simulation of their expected behaviors. | Simulation/modeling | Data entered based on site as-built drawing. Can also be imported from PVsyst project files | Receive real-time data from the plant?;Push commands to equipment (e.g., request IV curves, reset inverter)?;Display historical performance and faults geographically or temporally? | Yes | Physics model based on Digital Twin (e.g. De Soto diode model for modules, IAM, spectral correction, inverter efficiency, ohmic loss, etc) | Yes | Weather;External curtailment;Inverter clipping;Proforma losses (e.g. derates);External losses (e.g., grid unavailability or others please specify);Model is run on a 1 minute resolution to account for transient behavior, including DC (MPPT-level) and AC clipping. KPIs can be adjusted to account for force majeure events | Time-based availability;Energy Performance Index (EPI);Performance Ratio (PR);Specific Yield (kWh/kWp);BEPI (energy produced relative to design, e.g. PVsyst, Helioscope, etc 8760) | Yes;Cycle Count, historical and forecasted savings for sites using our EMS that can run on the same hardware we provide. Adding more as we onboard more batteries. | Yes;No;PPA revenue | No |  |  | Soiling;Snow;Degradation (please specify);Shading (please specify, e.g., vegetation, row-to-row, horizon);String issues (please specify);Ground faults;Grid issues;Can provide a health report on PV strings (e.g. quantifying how many modules in series are missing or strings in parallel). Based on digital twin model vs. measured data. Degradation calculated using 0.5%/yr industry average in Digital Twin model. Shading can be entered using a geometric (solar position) based model on a per-string basis. | Alerts which are generated on performance issues or faults can be exported to a CMMS via in-platform button or API | Available to users | Developed using publicly available Sandia papers and other industry standard methods (e.g. PVlib) | Yes given a sophisticated enough user, but the modeling gets quite complicated since many potential models can be used depending on the available meteorological data, etc (e.g. GHI vs POA, etc) | Subscription per MW;Subscription per month/annual;Custom enterprise agreements;Not for public release | Exact pricing not for public release | Yes | Built-in tutorials or guided onboarding;Live training sessions;Knowledge base or documentation | We have a unique focus on delivering an off the shelf *product* solution rather than a collection of human-in-the-loop services. From our high fidelity monitoring, to our advanced physical modeling, to our real-time site controls, Wattch is able to deliver a unified, feature-complete solution at competitive pricing and under extremely differentiated deployment timelines. Where customization is desired, customers are able to self-service the necessary changes. There is no need to open tickets to make changes to Wattch site or platform configurations.