## Slide 1: Sandia PV Systems Capabilities Areas Anthony Martino, Ph.D. Photovoltaics & Materials Technologies Sandia National Laboratories P.O. Box 5800, MS 0734 Albuquerque, NM 87185-0734 (505) 844-0652 martino@sandia.gov SAND2020-13339 PE

## Slide 2: Cell, Module and System Characterization at the Photovoltaic Systems Evaluation Lab (PSEL)
Indoor Module Lab:
1-Sun Flash Tester
  Spire 4600SLP, Class AAA
  Characterize IV behavior of modules as a function of irradiance
  Monitored for long-term stability, supports reliability research
Custom Dark Room
  Co-located Electro Luminescence, IR and UV Fluorescence Inspection Systems
  Non-destructive module defect mapping
Systems and Component Reliability:
Purpose
  1-month to multi-year installations
  Validate energy yield calculations and system reliability
  Evaluate materials and component reliability and degradation
System Monitoring
  High frequency sampling of Voltage and Current, in situ IV sweeps
  GPS time synchronized with other measurement platforms
Site Capacity
  ~ 5 acres dedicated to PV deployment
  ~ 750 kW grid interconnect
Outdoor Module Characterization:
Dual Two-Axis Trackers
  Characterize behavior under real-world operating conditions
  Characterize a range of form factors from bare cells to mock roof sections
  Facilitates performance model calibration
Types of Characterization
  I-V Curves
  Thermal Performance
  Angle of Incidence
  Instrumentation
  Global and Diffuse POA irradiance
  Comprehensive weather station nearby (including EKO spectroradiometers)
Indoor Cell Lab:
1-Sun Cell Tester
  Oriel Sol-3 Class AAA light source
  Characterize IV behavior of cells at various irradiance,temperature levels
Solar Cell Spectral Response
  PV Measurements QEX10
  Characterize electrical response of cells as a function of wavelength
Reflectance and Transmission
  Cary 5000/DRA 2500
  Characterize reflection and transmission of materials as a function of wavelength, orientation

## Slide 3: Outdoor Module Lab
Capabilities
  Two fully programmable Two-Axis trackers
  8 Data Channels (split between two trackers)
  3m x 3m mounting area (per arm)
Range of Technologies
  Flat plate (c-Si, CIGS, CdTe)
  Concentrating Photovoltaics
  BIPV
  Bifacial
  Single cells
Types of Characterization
  I-V Curves
  Thermal Performance
  Angle of Incidence
  Specialized tracker simulations (e.g. Horizontal Single-Axis)
On-board Instrumentation
  Calibrated Silicon Reference Cell
  Calibrated Pyranometers
  Tracking Error Monitors
  Module Backsheet Temperatures

## Slide 4: Indoor Module Lab
Solar Simulator
  Spire 4600SLP
  Characterize IV behavior of modules as a function of irradiance
  Class AAA flash lamps
  2m x 1.37m test plane
  200-1100 W/m2
  room temperature operation only
Module Inspection
  Custom enclosure and module mounting
  Max size: 2.1m x 1.4m module
  Reltron PV Electroluminescence Inspection System
  FLIR MWIR
  24MP DSLR
  Light-soaking/Pre-conditioning Chamber
  Temperature controlled light-soaking chamber, integrated IV sweep capability

## Slide 5: Systems Research
Purpose
  Focus on Emerging Technologies
  Minimum 1-year installations
  Data used to validate energy yield calculations
  Evaluate system reliability and degradation rates
Configuration and Capacity
  750kW grid tie capacity
  225 kW currently installed
  100-125kW near term expansion (just need modules and inverters)
  225-275kW mid term expansion (need site prep, racking, electrical runs)
Instrumentation
  DC Voltage and Current (string and combiner)
  AC Voltage, Current and Power Factor
  Module Temperature
  Local Irradiance Sensors
  Other temperatures (e.g. inverter) as desired

## Slide 6: Solar Resource/Irradiance Network
http://photovoltaics.sandia.gov/weather/Weather.htm
Weather Data is synchronized and merged with electrical measurement data for later analysis
Comprehensive Local Solar Resource Assessment
  Irradiance
  Spectrum
  Other Environmental Parameters
  Supports all outdoor measurement work (Module Testing, Systems Analysis)
  1 minute data posted to Web real-time
Calibrations
  Pyranometers
  Reference Cells
  ~ 120 different instruments maintained, both locally and across RTC sites.

## Slide 7: Component Lab
Equipment
  SpectroLab XT-10 continuous solar simulator
  Berger Pulsed solar simulator
  PV Measurements QEX10 – quantum efficiency
  Characterize electrical response of cells as a function of wavelength
  Cary 5000/DRA 2500 Spectrometer
  Mini-module fab
    Small vacuum laminator
    Stringer/tabber
  Optical Microscopes
  Ovens for component testing
  Benchtop environmental chambers

## Slide 8: Data Management
Capabilities and Equipment
  Database servers
  Quality assurance of monitoring data from PV systems (daily)
  Database development and maintenance
  Public accessibility of data
    Weather and system performance
  Test item tracking and history
  Matlab and Python analysis environment
  Cellular networks for dataloggers
  Data transfer from offsite systems

## Slide 9: Communications / Stakeholder Outreach
PV Performance Modeling Collaborative (PVPMC)
  2,800 member mailing list
  Website with over 10,000 hits each month
  PVLIB for Matlab and Python
    Over 50 open source functions for PV performance modeling
  Extended Series of Workshops (14th currently planned)
    International (USA, Germany, Switzerland, China)
    Over 200 past presentations available on website.
  International Energy Agency PVPS Task 13
  Three-year work plan began in late FY18

## Slide 10: Infrastructure and Site Operations
Site Description
7-acre fenced site located on Kirtland Air Force Base
750 kW grid tie capacity, two transformers
7 Buildings; office, lab, R&D and shop
Operations
Site safety and training
  8 Tech Staff, 2 Students
  Site specific Safety
Vehicles
  Forklift, scissor lift, electric cart for material movement
  6 storage trailers
Light Machine shop
  End mill, lathe, band saws, hand tools
Research Capabilities
  Module characterization, indoors and outdoors
  Fixed tilt PV systems
  CPV Tracking Systems
  Components durability
  PV Technology Agnostic