## Cover
Laboratory Assessment Tool
Annex 2: Laboratory Assessment Tool / Facility Questionnaire
© World Health Organization 2012
All rights reserved.
The designations employed and the presentation of the material in this publication do not imply the expression of any opinion whatsoever on the part of the World Health Organization concerning the legal status of any country, territory, city or area or of its authorities, or concerning the delimitation of its frontiers or boundaries. Dotted lines on maps represent approximate border lines for which there may not yet be full agreement. The mention of specific companies or of certain manufacturers’ products does not imply that they are endorsed or recommended by the World Health Organization in preference to others of a similar nature that are not mentioned. Errors and omissions excepted, the names of proprietary products are distinguished by initial capital letters. All reasonable precautions have been taken by the World Health Organization to verify the information contained in this publication. However, the published material is being distributed without warranty of any kind, either expressed or implied. The responsibility for the interpretation and use of the material lies with the reader. In no event shall the World Health Organization be liable for damages arising from its use.

## Lab
Laboratory identification |  | Central/Reference
Intermediate
Peripheral
Country |  | Other
Region/Province/District |  | NA
Name of the laboratory
Address
Telephone
Fax
E-mail
Name of the laboratory director
Qualification and contact details of the laboratory director
Date of the assessment (DD/MM/YYYY)
Name of the assessor/s
Contact details of the assessor/s
Name of the responding person/s
Qualification and contact details of the responding person/s
Level of laboratory
Affiliation/ type of laboratory (several answers possible)
Public Health / Hospital / Health Centre / Environment / Food Control / Veterinary / Private / University / Research / Other?
Affiliated Ministry (if applicable)
Health / Agriculture / Trade, Commerce / Education / Defense / Other?
Estimated population covered by this laboratory
Describe participation in international programmes/networks (if applicable)
Polio, FluNet, INFOSAN, Global Foodborne Infections Network, etc.
Indicate relevant disciplines addressed in the laboratory by checking relevant box/es
Clinical chemistry | FALSE
Haematology and haemostasis | FALSE
Parasitology | FALSE
Mycology | FALSE
Bacteriology (except serology) | FALSE
Virology (except serology) | FALSE
Viral serology | FALSE
Bacterial serology | FALSE
Toxicology | FALSE
Histopathology | FALSE
Cytology
Human genetics | FALSE
Transfusion medicine | FALSE
Food testing (microbiology)
Food testing (chemicals and others)
Water testing | FALSE
Veterinary testing
Environmental testing (air, soil)
Other | FALSE
If other, please describe below:
Comments

## 1.Orga
1. | Organization and management |  |  |  | 1
| Possible answers (unless otherwise advised): 1.Yes; 2.Partial; 3.No; 4.Non applicable |  |  |  | 2
3
|  | Documents to be collected | 1; 2; 3; 4 | Provide here the answer to the open question/s and/or insert any additional information | 4
Service hours
1.1 | What are the days and hours of operation of routine service?
1.2 | If relevant, what are the days and hours of operation of emergency service?
External communication
Is the laboratory equipped with:
1.3 | Telephone?
1.4 | Fax?
1.5 | Computer with Internet access?
1.6 | If yes or partial, does laboratory staff have access to the Internet?
1.7 | Is relevant information on costs and turnaround time for test results available to patients? | X
1.8 | Is there timely notification to patients when delay is anticipated due to machine breakdown, etc.?
1.9 | If applicable, do you organize customer surveys at least once a year? | X
Internal communication and structure
1.10 | Is there an organizational structure defining the lines of authorities and responsibilities for key laboratory staff? | X
1.11 | Are staff meetings organized at least once a month?
1.12 | If applicable, are team manager meetings organized at least once a month?
1.13 | Are meetings organized to solve a particular problem when it occurs?
1.14 | Are written reports or minutes of these meetings produced? | X
1.15 | Please describe the means by which information is internally communicated (notice board, e-mail, etc.).
1.16 | Do laboratory staff participate in annual laboratory meetings specifically focused on sharing of knowledge and experiences and the opportunity to make improvements?
1.17 | Do laboratory representatives participate in hospital/institution board meetings as relevant?
Budget
1.18 | Is the budget for staff salaries adequate for the need?
1.19 | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.)
1.20 | Is there an adequate budget assigned for staff education?
1.21 | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.)
1.22 | Is there an adequate budget assigned for consumable and reagent purchase?
1.23 | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.)
1.24 | Is there an adequate budget assigned for equipment purchase/maintenance?
1.25 | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.)
1.26 | Is there an adequate budget assigned for surveillance and/or overall public health activities?
1.27 | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.)
Licensing/Supervision/Accreditation
1.28 | Has the laboratory been licensed (i.e. authorized to operate) by the authorities? If licensing is not required, please indicate “Non applicable”. | X
1.29 | Does the laboratory have an internal audit programme?
1.30 | If yes or partial, please describe
1.31 | Has the laboratory undergone an audit or assessment by a third party within the last two years?
1.32 | If yes or partial, please provide details
1.33 | Are copies of any reports on reviews by a third party available to the laboratory? | X
1.34 | Are recommendations from third party reviews implemented where relevant?
1.35 | Does the laboratory hold any form of certification (ISO 9001, other)? | X
1.36 | If yes, please detail the relevant standards and the names of the certification bodies.
1.37 | Does the laboratory hold any form of accreditation (ISO 17025, ISO 15189, WHO polio or measles, etc.)? | X
1.38 | If yes, please details the relevant standards and the names of the accreditation bodies.
Comments

## 2.Docs
2. | Documents |  |  |  | 1
| Possible answers (unless otherwise advised): 1.Yes; 2.Partial; 3.No; 4.Non applicable |  |  |  | 2
3
|  | Documents to be collected | 1; 2; 3; 4 | Provide here the answer to the open question/s and/or insert any additional information | 4
Document control
2.1 | Is a system in place to organize the management of laboratory documents and records? | X
If yes, are the documents:
2.2 | Listed?
2.3 | Numbered?
2.4 | Approved and signed by authorized personnel?
2.5 | Reviewed periodically?
2.6 | Archived according to national or international guidelines?
2.7 | Does the laboratory have an archive system? | X
2.8 | Are the archived documents retrievable?
2.9 | For how long are the archived documents kept?
Quality procedures
2.10 | Is a quality manual describing the quality system policy and the quality procedures available? | X
If yes or partial, does it cover these topics:
2.11 | Laboratory organization and management?
2.12 | Documentation and records?
2.13 | Pre-examination procedures?
2.14 | Examination procedures?
2.15 | Post-examination procedures and reporting of results?
2.16 | Management of nonconformities?
2.17 | Personnel and education requirements?
2.18 | Safety and facilities?
2.19 | Equipment?
2.20 | Consumables and reagents?
2.21 | Reference materials?
2.22 | Collaboration with referral laboratories?
2.23 | Internal quality control procedures?
2.24 | External quality assessment procedures?
2.25 | Are all procedures related to relationship with other relevant institutes and organizations documented? | X
2.26 | Are procedures readily available to staff, as relevant?
2.27 | Are changes in procedures tracked? | X
2.28 | Are laboratory procedures reviewed at least annually and any necessary amendments incorporated? | X
2.29 | Are confidentiality protected and access limited, as appropriate?
2.30 | Are current versions of published standards and other similar documents in use in the laboratory available (e.g. norms, guidelines, instrument manuals, test kit inserts etc.)? | X
2.31 | Does the laboratory have procedures that were developed in-house? | X
2.32 | If so, are they clearly documented according to a defined format?
2.33 | Is there a procedure for the storage of primary specimens once analysed? | X
2.34 | Are there procedures for the validation and verification of methods and equipment as relevant? | X
2.35 | Are procedures in place to record incidents or complaints? | X
2.36 | If yes or partial, are corrective actions implemented and recorded? | X
Biosafety
2.37 | Are written biosafety procedures available? | X
2.38 | If yes or partial, please provide the name and reference of these procedures/guidelines:
If yes or partial, are the following subjects addressed:
2.39 | Personal protective equipment?
2.40 | Disinfection and sterilization?
2.41 | Waste disposal?
2.42 | Access restrictions?
2.43 | Biosafety equipments?
2.44 | Emergency protocols (e.g. in case of contamination)?
2.45 | Are Material Safety Data Sheets available for review in the immediate laboratory area? | X
Comments

## 3.Specimen
3. | Specimen collection, handling and transport |  |  |  | 1
| Possible answers (unless otherwise advised): 1.Yes; 2.Partial; 3.No; 4.Non applicable |  |  |  | 2
3
|  | Documents to be collected | 1; 2; 3; 4 | Provide here the answer to the open question/s and/or insert any additional information | 4
Specimen collection
3.1 | Are written instructions available for patient preparation prior to collection (e.g. glucose tolerance test)? | X
3.2 | Are collection procedures documented and available to relevant personnel? | X
3.3 | Do these include minimum patient identification details?
3.4 | Is a standard specimen request form available for those requesting tests? | X
If yes or partial, does it include:
3.5 | Name of the patient?
3.6 | Gender?
3.7 | Date of birth?
3.8 | Patient identification number (if applicable)?
3.9 | Identification of the prescriber?
3.10 | Date of collection?
3.11 | Time of collection?
3.12 | Type of specimen?
3.13 | Specimen identification number (if applicable)?
3.14 | Examinations requested?
3.15 | Clinical information?
3.16 | Are specimens recorded in a book, worksheet, computer or other comparable system?
If yes or partial, is there:
3.17 | A unique identification number?
3.18 | The date of receipt?
3.19 | The time of receipt?
3.20 | Are specimen portions traceable to the original primary sample (identification number, etc.)?
Specimen handling
Does the laboratory experience problems with specimens from outside the facility due to (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable):
3.21 | No request form
3.22 | Incomplete request form
3.23 | Incorrect specimen identification
3.24 | Incorrect patient identification
3.25 | Inadequate container
3.26 | Inadequate volume
3.27 | Inadequate transport media/anticoagulant
3.28 | Inadequate package
3.29 | Inadequate transportation temperature
3.30 | Delay in receipt
Does the laboratory experience problems with collecting specimens inside the facility due to (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable):
3.31 | Lack of proper collection materials
3.32 | No request form
3.33 | Incomplete request form
3.34 | Incorrect specimen identification
3.35 | Incorrect patient identification
3.36 | Inadequate volume
3.37 | Are there any criteria for acceptance or rejection of primary specimens (including potential caution if non-conforming specimens are accepted)? | X
3.38 | Are primary specimens adequately stored if not immediately examined?
3.39 | Are specimens stored for a specific time under appropriate conditions to enable further testing?
Specimen referral / transport
3.40 | Does the laboratory receive specimens or isolates from other laboratories?
3.41 | Does the laboratory refer specimens or isolates to other laboratories?
3.42 | If yes or partial, please describe which specimens to which laboratories in what circumstances:
3.43 | Does the laboratory have appropriate packaging for referring specimens (triple package if air transport, or any package in conformity with local regulations or recommendations)?
3.44 | Is/are the person/s in charge of shipments trained for the transport of infectious substances?
If yes or partial:
3.45 | Is he/she trained for local or national regulations or recommendations?
3.46 | Is he/she trained in international regulations?
Comments

## 4.Data
4. | Data and information management |  |  |  | 1
| Possible answers (unless otherwise advised): 1.Yes; 2.Partial; 3.No; 4.Non applicable |  |  |  | 2
3
|  | Documents to be collected | 1; 2; 3; 4 | Provide here the answer to the open question/s and/or insert any additional information | 4
Test results and reports
4.1 | Are all original observations/results of the laboratory recorded in a worksheet or electronic database?
4.2 | Are results reported and recorded in a standardized format? | X
If yes or partial, does the report form include the following:
4.3 | Name of the laboratory?
4.4 | Patient identification?
4.5 | Requester identification?
4.6 | Sample type?
4.7 | Examination method?
4.8 | Date of sample collection?
4.9 | Time of sample collection?
4.10 | Date of receipt of the sample by the laboratory?
4.11 | Time of receipt of the sample by the laboratory?
4.12 | Date of release of report?
4.13 | Time of release of report?
4.14 | Results reported in International System of Units (where applicable)?
4.15 | Biological reference intervals (where applicable)?
4.16 | Interpretation (where appropriate)?
4.17 | Identification and signature of the person authorizing the release of the report?
4.18 | Are the results reviewed and authorized before the results are released?
4.19 | Is there a system in place to track if reports have been issued and received?
4.20 | When samples need to be referred further to another laboratory, is there procedure to define how report is then issued and by which laboratory?
4.21 | Is there an immediate notification of physicians when results are critical for patient care? | X
4.22 | Is there an immediate notification of relevant ministry/surveillance network when results are critical? | X
Data analysis and statistics
4.23 | Can the laboratory provide basic statistical data (e.g. number of tests ordered, aggregated qualitative/quantitative data, etc.)?
4.24 | If yes or partial, are statistical data analysed and used?
4.25 | Are periodic summary activity reports prepared? | X
Data security - Confidentiality
4.26 | Are access and modification of patient data protected for paper-based system?
4.27 | Are access and modification of patient data protected for electronic system?
4.28 | Is efficient back-up in place to prevent loss of patient result data in case of theft or other incident for paper-based system?
4.29 | Is efficient back-up in place to prevent loss of patient result data in case of theft or computer failure or other incident for electronic system?
4.30 | Are reported data (copies) retained as long as medically relevant or required by the legislation?
IT and Laboratory Information System (LIS)
What are the softwares/applications used in the laboratory:
4.31 | Word processor?
4.32 | Spreadsheet processor?
4.33 | Presentation software?
4.34 | Database software?
4.35 | Internet browsing?
4.36 | E-mail?
4.37 | LIS?
If yes or partial for LIS:
4.38 | Are data retrievable within an acceptable timeframe?
4.39 | Can the system be used for data analysis?
Comments

## 5.Reagents
5. | Consumables and reagents |  |  |  | 1
| Possible answers (unless otherwise advised): 1.Yes; 2.Partial; 3.No; 4.Non applicable |  |  |  | 2
3
|  | Documents to be collected | 1; 2; 3; 4 | Provide here the answer to the open question/s and/or insert any additional information | 4
Procurement
5.1 | Are lists of manufacturers/suppliers and catalogues of reagents available? | X
5.2 | If applicable, are the consumables and reagents ordered in the list of registered supplies at national level?
5.3 | Does the laboratory experience problems with reagent delivery like delays, temperature not adequate, reference error, etc. (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)?
5.4 | Is there a responsible staff for consumable and reagent management (inventory, order, etc.)?
5.5 | Is the purchase of consumables and reagents recorded? | X
Inventory and storage
5.6 | Is there an inventory system for consumables and reagents? | X
If yes or partial, does it include:
5.7 | Quantity?
5.8 | Quality?
5.9 | Supplier?
5.10 | Lot number?
5.11 | Date of receipt?
5.12 | Appropriate storage?
5.13 | Expiration date?
5.14 | Expected shelf life?
5.15 | Date the material is placed in service?
5.16 | Are consumables and reagents inspected upon receipt?
5.17 | If yes or partial, are there protocols for acceptance/rejection of consumables and reagents?
5.18 | Are consumables and reagents appropriately stored (temperature, humidity, etc.)?
Use
5.19 | Is the date of opening clearly written on the reagents/kits?
5.20 | Are new reagents (new product, new lot, including home-made reagents) validated against old reagents or reference materials before use?
5.21 | Is the consumption rate monitored for consumables and reagents? | X
5.22 | Is there a system for accurately forecasting needs for consumables and reagents?
5.23 | Are disposable supplies (e.g. tips, plastic pipettes, gloves) reused (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)?
Expired reagents
5.24 | Are expired reagents used (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)?
5.25 | If sometimes or regularly, is quality control performed on these expired reagents?
5.26 | If sometimes or regularly, does quality control testing demonstrate that the quality of reagents is still acceptable?
Comments

## 6.Equip
6. | Equipment |  |  |  |  | 1
| Possible answers (unless otherwise advised): 1.Yes; 2.Partial; 3.No; 4.Non applicable |  |  |  |  | 2
3
|  | Documents to be collected | 1; 2; 3; 4 | Provide here the answer to the open question/s and/or insert any additional information |  | 4
Equipment inventory
6.1 | Is there an equipment inventory?
6.2 | If yes or partial, is each equipment recorded with a paper or electronic equipment form? | X
If yes or partial, does this form include:
6.3 | Name of the equipment?
6.4 | Serial number?
6.5 | Name and contact details of manufacturer (or local supplier)?
6.6 | Date of receipt?
6.7 | Date of first use?
6.8 | Location in the laboratory?
6.9 | Condition (i.e. new, used)?
6.10 | Maintenance activities?
6.11 | Damage and repairs?
6.12 | The individual primarily responsible for this equipment?
Equipment maintenance, calibration and monitoring
6.13 | Are results validated against reference materials and/or methods when new equipment is introduced?
6.14 | Is the equipment maintained in a safe working condition (including electrical safety)?
6.15 | Is there daily monitoring and recording of temperatures for temperature-dependent equipment? | X
6.16 | Is the staff duly trained and authorized before first using equipment?
6.17 | Do only authorized personnels use the equipment?
6.18 | Does the laboratory have a dedicated person in charge of the equipment (maintenance management, etc.)?
6.19 | Is a preventive maintenance programme in place?
6.20 | Does the laboratory have contracts with external maintenance and repair services?
6.21 | Are data from equipment maintenance recorded and used?
6.22 | Is there a defined protocol and time period for pipette calibration?
6.23 | Is calibration of other equipment performed and checked regularly (pH meter, spectrophotometer, etc.)?
6.24 | Are results validated against gold standards after equipment maintenance or repair?
6.25 | Are there user manuals for most of the equipment? | X
6.26 | If yes, are these manuals available in the language commonly used by the staff? | X
6.27 | Are there sufficient spare parts for quick repairs (lamps, fuses, filters, etc.)?
6.28 | Is defective equipment (waiting for repair or obsolete to be removed) labelled appropriately?
6.29 | Are procedures available for the disposal of equipment?
| List of FUNCTIONING and USABLE equipment | Number | Is it registered? | Is it maintained (including calibration if applicable)? | Is it certified?
Atomic Absorption Spectrometer
Autoclave (clean)
Autoclave (dirty)
Automated microbial identification and susceptibility testing systems
Automatic pipette (other than micropipettes)
Basic scale
Beta and gamma (scintillation) counters
Binocular microscope
Biosafety Cabinet (BSC) class I
Biosafety Cabinet class II
Biosafety Cabinet class III
Blood culture automated incubator
Bunsen burner + gas bottle
Candle jar
Centrifuge, cooled
Centrifuge, simple
Chemistry analyser
CO2 incubator
Coagulometer
Colorimeter
Computer for laboratory work
Computer for office work
DNA automated extractor
Dry ice machine
Electrophoresis equipment
ELISA equipment (Washer/Incubator/Reader)
Flame photometer
Flow cytometer
Fluorescence microscope
Fluorimeter
Freezer -20°C
Freezer -70°C
Gas Chromatography with any detection system
Gel electrophoresis for nucleic acids and peptides
Glassware kit
Haematology automated analyser
Heated magnetic agitator
Haematocrit centrifuge
High Performance Liquid Chromatography with any detection system
Immunoassays automated analyser
Incubator
Lyophilizer
Manipulation box (chemical hood)
Mass Spectrometry (with or without Liquid Chromatography)
McFarland photometer
Media dispenser
Micropipette 1-5ml
Micropipette 20 µl
Micropipette 200- 1000µl
Micropipette 5- 50µl
Micropipette 50- 200µl
Oven
pH meter
Photographic equipment
Plexiglass screen
Precision scale
Printer for laboratory work
Printer for office work
Pulsed Field Gel Electrophoresis
Refrigerator
Rotary agitator
Semi-automated microbial identification or susceptibility testing systems
Slide dryer
Thermal cycler (Thermocycler, PCR Machine or DNA Amplifier), Conventional
Thermal cycler (Thermocycler, PCR Machine or DNA Amplifier), Real Time
Thin Layer Chromatography (with/without scanning device)
Turbidimeter
UV light table
UV/visible spectrophotometer
Vacuum pump
Vortex
Washing machine for glassware
Water distiller
Water bath
Comments

## 7.Testing
7. | Laboratory testing performance | [8 empty] | 1
2
3
| Reference number to be entered under "Discipline #" in the answer table below |  |  |  | Specimen to be entered under "Specimen type" in the answer table below |  |  |  |  | 4
| Disciplines | # |  |  | Specimen type
| Clinical chemistry | 1 |  |  | Blood
| Haematology and haemostasis | 2 |  |  | Stool
| Parasitology | 3 |  |  | Urine
| Mycology | 4 |  |  | CSF
| Bacteriology (except serology) | 5 |  |  | Sputum
| Virology (except serology) | 6 |  |  | Lymph nodes
| Viral serology | 7 |  |  | Bone marrow
| Bacterial serology | 8 |  |  | Pus
| Toxicology | 9 |  |  | Pharyngeal/nasopharyngeal swab
| Histopathology | 10 |  |  | Urethral/vaginal swab
| Cytology | 11 |  |  | Other
| Human genetics | 12
| Transfusion medicine | 13
| Food testing (microbiology) | 14
| Food testing (chemicals and others) | 15
| Water testing | 16
| Veterinary testing | 17
| Environmental testing (air, soil) | 18
| Other | 19
Other:
Enter all relevant tests performed in the laboratory (one test/line) and provide requested details for each test
Possible answers (unless otherwise advised): 1.Yes; 2.Partial; 3.No; 4.Non applicable
[5 empty] | Frequency | Staff | SOPs |  | Equipment |  | Reagents/Test kits |  | Quality Control |  |  | External Quality Assessment |  |  | Automatic calculation, not to be filled in here
| Test type/Name | Discipline # | Specimen type | Method/s and Instrument/s | Average number of tests performed monthly | Is staff competent to perform the test? | Is SOP available for this test? | Is the SOP adequate/up-to-date? | Is equipment appropriate for this test? | Is equipment adequately maintained? | Are adequate reagents for this test available? | Are the reagents in-date? | Are IQC specimens included when performing this test? | Are IQC results acceptable? | Are corrective actions implemented if IQC results are not acceptable? | Does the laboratory participate in EQA for this test? | Are EQA results acceptable? | Are corrective actions implemented if EQA results are not acceptable? | Score per test
e.g. | Cytobacteriological examination of urine | 5 | Urine | Microscopy, Gram, Culture | 45 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 3 | 4 | 4 | 1 | 1 | 2 | 81.82% | 100% | 100% | 100% | 100% | 100% | 100% | 50% | 0% | 100% | 100% | 50%
7.1
7.2
7.3
7.4
7.5
7.6
7.7
7.8
7.9
7.10
7.11
7.12
7.13
7.14
7.15
7.16
7.17
7.18
7.19
7.20
7.21
7.22
7.23
7.24
7.25
7.26
7.27
7.28
7.29
7.30
7.31
7.32
7.33
7.34
7.35
7.36
7.37
7.38
7.39
7.40
7.41
7.42
7.43
7.44
7.45
7.46
7.47
7.48
7.49
7.50
7.51
7.52
7.53
7.54
7.55
7.56
7.57
7.58
7.59
7.60
7.61
7.62
7.63
7.64
7.65
7.66
7.67
7.68
7.69
7.70
7.71
7.72
7.73
7.74
7.75
7.76
7.77
7.78
7.79
7.80
7.81
7.82
7.83
7.84
7.85
7.86
7.87
7.88
7.89
7.90
7.91
7.92
7.93
7.94
7.95
7.96
7.97
7.98
7.99
7.100
7.101
7.102
7.103
7.104
7.105
7.106
7.107
7.108
7.109
7.110
7.111
7.112
7.113
7.114
7.115
7.116
7.117
7.118
7.119
7.120
7.121
7.122
7.123
7.124
7.125
7.126
7.127
7.128
7.129
7.130
7.131
7.132
7.133
7.134
7.135
7.136
7.137
7.138
7.139
7.140
7.141
7.142
7.143
7.144
7.145
7.146
7.147
7.148
7.149
7.150
7.151
7.152
7.153
7.154
7.155
7.156
7.157
7.158
7.159
7.160
7.161
7.162
7.163
7.164
7.165
7.166
7.167
7.168
7.169
7.170
7.171
7.172
7.173
7.174
7.175
7.176
7.177
7.178
7.179
7.180
7.181
7.182
7.183
7.184
7.185
7.186
7.187
7.188
7.189
7.190
7.191
7.192
7.193
7.194
7.195
7.196
7.197
7.198
7.199
7.200
Comments

## 8.Facilities
8. | Facilities |  |  |  | 1
| Possible answers (unless otherwise advised): 1.Yes; 2.Partial; 3.No; 4.Non applicable |  |  |  | 2
3
|  | Documents to be collected | 1; 2; 3; 4 | Provide here the answer to the open question/s and/or insert any additional information | 4
Infrastructure
What is the general condition of laboratory building and infrastructure? For the following questions, choose one of the following answers: 1.Good; 2.Medium; 3.Bad; 4.Non applicable
8.1 | Walls, floors and roofs?
8.2 | Windows and doors?
8.3 | Benches?
8.4 | Heating / air conditioner / ventilation?
8.5 | Lighting?
8.6 | Waste disposal?
Work conditions
8.7 | Does the laboratory face electricity interruption (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)?
8.8 | If applicable, do you have an emergency electric generator or other backup power source?
8.9 | Is key/sensitive equipment protected by a UPS (Uninterruptable Power Supply)?
i.e. photometer/spectrophotometer, thermal cycler, BSC, or any other equipment that can be damaged by sudden interruptions in electricity
8.10 | Does the laboratory face water shortages (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)?
8.11 | Is the space allocated sufficient to perform the work without compromising the quality and safety of patients and personnel?
8.12 | Are work areas clean and well maintained?
8.13 | Is sample collection carried out in room(s) separated from the laboratory examination room(s)?
8.14 | Is there an effective separation between adjacent laboratory sections in which there are incompatible activities (e.g. nucleic acid extraction vs amplification)?
8.15 | Are there designated rooms for specialized testing (TB, brucellosis, etc.)?
8.16 | If applicable, is there a negative pressure room?
8.17 | Are there appropriate storage areas?
Comments

## 9.HR
9. | Human resources |  |  |  | 1
| Possible answers (unless otherwise advised): 1.Yes; 2.Partial; 3.No; 4.Non applicable |  |  |  | 2
3
|  | Documents to be collected | 1; 2; 3; 4 | Provide here the answer to the open question/s and/or insert any additional information | 4
Staff number
Number of:
9.1 | Managers/senior staff (postgraduate degree)
9.2 | Laboratory technologists or technicians (performing tests)
9.3 | Laboratory assistants/medical aides (not doing tests)
9.4 | Support/administrative staff
9.5 | Phlebotomists
9.6 | Other staff
9.7 | For other staff, please specify:
9.8 | Total number of persons working in the laboratory
9.9 | Is the staff number adequate to undertake the required work?
If no or partial:
9.10 | Is trained manager/senior staff missing?
9.11 | Is technical staff missing?
9.12 | Is assistant/medical aide staff missing?
9.13 | Is support/administrative staff missing?
9.14 | Is phlebotomist missing?
9.15 | Is other staff missing?
9.16 | For other staff, please specify:
Qualifications
9.17 | Are qualifications, training and experience of staff recorded? | X
9.18 | Are job descriptions defining qualifications and duties available? | X
9.19 | Are lines of authority and responsibility clearly defined for all laboratory staff?
9.20 | Has a quality manager been designated?
9.21 | Does the staff have appropriate qualifications or competences to perform laboratory work?
If no or partial:
9.22 | Do managers/senior staff have appropriate qualifications or competences?
9.23 | Do laboratory technologists have appropriate qualifications or competences?
9.24 | Do assistants/medical aides have appropriate qualifications or competences?
9.25 | Do support/administrative staff have appropriate qualifications or competences?
9.26 | Do phlebotomists have appropriate qualifications or competences?
9.27 | Do other staff have appropriate qualifications or competences?
9.28 | For other, please specify:
Continuous education
9.29 | Is there a professional development programme in place for the staff?
9.30 | Is continuing education (training, workshop, conference, etc.) provided to staff members?
9.31 | Is "in-house" education (on-site training, journal club, etc.) provided to staff members?
9.32 | Is there a library accessible by all staff in the laboratory?
9.33 | Please list the educational activities in the last two years
Comments

## 10.Biorisk
10. | Biorisk management |  |  |  | 1
| Possible answers (unless otherwise advised): 1.Yes; 2.Partial; 3.No; 4.Non applicable |  |  |  | 2
3
|  | Documents to be collected | 1; 2; 3; 4 | Provide here the answer to the open question/s and/or insert any additional information | 4
Biorisk management policy
10.1 | Has a policy concerning the management of laboratory biorisk (biosafety and biosecurity) been written? | X
10.2 | Does this policy clearly state the biorisk management objectives and commitment to improve biorisk management performance?
10.3 | Is the policy appropriate to the nature and scale of the risk associated with the facility and associated activities?
Biorisk assessment and control
10.4 | Have the hazards associated with proposed work been identified and documented? | X
10.5 | Have the biorisks been assessed and categorized? | X
10.6 | Are biorisk control measures described in an action plan? | X
10.7 | Are biorisk control measures documented? | X
Implementation and operation
10.8 | Are roles and responsibilities related to biorisk management defined and documented? | X
10.9 | Is a senior manager designated to oversee the biorisk management system?
10.10 | Has a biorisk management committee been established?
10.11 | Has a biorisk management advisor (or biological safety officer) been designated?
10.12 | Is this advisor providing advice and guidance on biorisk management?
10.13 | Has this advisor delegated authority to stop work if necessary?
10.14 | Does personnel have access to occupational health services?
10.15 | Has a facility manager been designated to manage facilities, containment equipement and buildings?
10.16 | Has a security manager been designated?
10.17 | Has an animal care manager been designated, in case the laboratory handles animals?
10.18 | Are qualifications, experience and aptitudes relating to biorisk considered as part of the recruitment process?
10.19 | Is there mechanism/s to ensure that personnel is competent (e.g. successful completion of training, ability to perform tasks under supervision)?
10.20 | Is personnel regularly trained on biorisk management? | X
10.21 | Is an up-to-date biological agent and toxin inventory established and maintained?
10.22 | Are desinfection and decontamination procedures implemented effectively?
10.23 | Are waste management procedures implemented effectively?
10.24 | Are personal protective equipment and clothing used appropriately?
10.25 | Can personnel access prophylactic or emergency treatment in case of exposure to contaminated materials?
10.26 | Is a vaccination policy defined and implemented?
10.27 | Is behaviour of personnel safe (e.g. no mouth pipetting, no recaping of needles, no smoking, no food stored in working areas)?
10.28 | Are the facilities designed to allow to work in a safe and secure way?
10.29 | Is there a formal commissioning process of new facilities?
10.30 | Are equipments and elements of the physical plant that may impact on biorisk identified?
If yes or partial, are these equipments and elements:
10.31 | Correctly certified or validated, in line with the manufacturer or regulations' requirements?
10.32 | Correctly maintained?
10.33 | Are appropriate security measures in place to minimize potential unappopriate removal or release of biological agents (e.g. theft, earthquake, flood)?
10.34 | Is access to sensitive information (e.g. inventory of agents and toxins) controlled by adequate policies and procedures?
10.35 | Are procedures for a safe and secure transport of culture, specimens, samples and other contaminated materials established?
10.36 | Are emergency plans available (e.g. in case of explosion, fire, flood, worker exposure, accident or illness, major spillage)? | X
10.37 | Are emergency situation simulation exercices including security drills conducted at regular intervals?
10.38 | Are contingency measures planned in the event of an emergency or unforeseen event (e.g. power failure)? | X
10.39 | Are biorisk documents and records controlled and managed as part of the laboratory document management system?
10.40 | Are accident/incident and nonconformities related to biorisk correctly managed (i.e. reported, recorded, investigated, and leading to preventive or corrective actions)? | X
10.41 | Do planned inspection or audit/s include assessment of the biorisk management system?
10.42 | Is there a regular review of the biorisk management system?
Comments

## 11.Public Health
11. | Public health functions |  |  |  | 1
| Possible answers (unless otherwise advised): 1.Yes; 2.Partial; 3.No; 4.Non applicable |  |  |  | 2
3
|  | Documents to be collected | 1; 2; 3; 4 | Provide here the answer to the open question/s and/or insert any additional information | 4
Surveillance and response
11.1 | Does the laboratory know the designated reference laboratories?
11.2 | Is the laboratory part of surveillance network/s for endemic communicable diseases (e.g. HIV, parasitic diseases, hepatitis)?
11.3 | If yes, please specify:
11.4 | Is the laboratory part of surveillance network/s for epidemic-prone diseases (e.g. measles, rotavirus, meningitis)?
11.5 | If yes, please specify:
11.6 | Is the laboratory part of surveillance network/s for non-communicable diseases (e.g. diabetes, cancer)?
11.7 | If yes, please specify:
11.8 | Has the laboratory defined responsibilities in national preparedness and response to public health emergencies like outbreaks?
11.9 | If yes, please specify:
11.10 | Are specific instructions or guidelines for laboratory investigation of public health events available? | X
Specimens
11.11 | Does the laboratory receive specimens from the field during the investigation of public health events or public health surveys?
11.12 | Does the laboratory give advice on specimen collection and transport practices from the field during the investigation of public health emergencies?
11.13 | Does the laboratory have a stock of emergency laboratory sampling kits (personal protective equipment, sample collection material, transport media)?
11.14 | Does the laboratory receive specimens or isolates from clinical laboratories for public health purpose (e.g. routine surveillance, outbreak investigation)?
11.15 | Does the laboratory refer specimens or isolates to reference laboratories for public health purpose (e.g. routine surveillance, outbreak investigation)?
Reporting
11.16 | Is a list of notifiable diseases the laboratory must report available? | X
11.17 | Is reporting to public health authorities established and implemented?
11.18 | If yes, is there a standardized form/document to report notificable diseases or other events? | X
11.19 | Does the laboratory send aggregated data on a weekly or monthly basis to public health authorities?
11.20 | Does the laboratory send aggregated data on a weekly or monthly basis to reference laboratory(ies)?
11.21 | If applicable, is information provided to clinicians about AST patterns?
11.22 | If applicable, is information provided to epidemiologists about AST patterns?
Comments

## 12.Gap Analysis
12. | Gap analysis
What are the biggest needs/weaknesses in the laboratory?
Score from 0 (no gap) to 5 (high gap) for the points below and please provide comments for the area/s that display the biggest weaknesses (scores 4 and 5)
|  | 0; 1; 2; 3; 4; 5 | Comments
12.1 | Financial resources for laboratory activities
12.2 | Human resources – qualifications and availability of suitable laboratory staff
12.3 | Equipment adequacy
12.4 | Equipment calibration and maintenance
12.5 | Reagent and consumable quality
12.6 | Reagent and consumable availability and delivery
12.7 | Specimen collection standardization and quality
12.8 | Guidelines on laboratory practices
12.9 | Transportation of specimens
12.10 | Laboratory organization, service delivery structure
12.11 | Regulatory framework
12.12 | Data management
12.13 | Laboratory safety or security
12.14 | Quality assurance
12.15 | Political commitment (national laboratory policies, budget, etc.)
12.16 | Other
For other, please specify:
Comments

## Summary
Laboratory Facility Assessment Questionnaire Report
All data in this module are automatically retrieved, nothing is to be filled in here except the comment boxes
Laboratory identification
| Country | 0
| Region/Province/District | 0
| Name of the laboratory | 0
| Address | 0
| Telephone | 0
| Fax | 0
| E-mail | 0
| Name of the laboratory director | 0
| Date of the assessment (DD/MM/YYYY) | 0
| Name of the assessor/s | 0
| Name of the responding person/s | 0
| Level of laboratory | 0
| Affiliation/ type of laboratory | 0
| Affiliated Ministry (if applicable) | 0
| Total number of persons working in the laboratory | 0
| Estimated population covered by this laboratory | 0
Monthly test numbers for relevant tests
| Disciplines |  | Monthly numbers (for test/s entered in Module 7)
| Clinical chemistry |  | 0
| Haematology and haemostasis |  | 0
| Parasitology |  | 0
| Mycology |  | 0
| Bacteriology (except serology) |  | 0
| Virology (except serology) |  | 0
| Viral serology |  | 0
| Bacterial serology |  | 0
| Toxicology |  | 0
| Histopathology |  | 0
| Cytology |  | 0
| Human genetics |  | 0
| Transfusion medicine |  | 0
| Food testing (microbiology) |  | 0
| Food testing (chemicals and others) |  | 0
| Water testing |  | 0
| Veterinary testing |  | 0
| Environmental testing (air, soil) |  | 0
| Other |  | 0
| Other: | 0
| Average indicator | #DIV/0!
1. | Organization and management
2. | Documents
3. | Specimen collection, handling and transport
4. | Data and information management
5. | Consumables and reagents
6. | Equipment
7. | Laboratory testing performance
8. | Facilities
9. | Human resources
10. | Biorisk management
11. | Public health functions
| General comments on the assessment |  | Conclusions and recommendations
Insert photographs below

## Language
Enter in cell A3 the number corresponding to the language (1-English, 2- Language 2, 3- Language 3). If you translate the cells in the column/s 2 or 3, you can use the tool in other languages.
1 |  | 1- English | 2- Language 2 | 3- Language 3
1 | Laboratory Assessment Tool | Laboratory Assessment Tool
1 | Annex 2: Laboratory Assessment Tool / Facility Questionnaire | Annex 2: Laboratory Assessment Tool / Facility Questionnaire
1 | Laboratory identification | Laboratory identification
1 | Country | Country
1 | Region/Province/District | Region/Province/District
1 | Name of the laboratory | Name of the laboratory
1 | Address | Address
1 | Telephone | Telephone
1 | Fax | Fax
1 | E-mail | E-mail
1 | Name of the laboratory director | Name of the laboratory director
1 | Qualification and contact details of the laboratory director | Qualification and contact details of the laboratory director
1 | Date of the assessment (DD/MM/YYYY) | Date of the assessment (DD/MM/YYYY)
1 | Name of the assessor/s | Name of the assessor/s
1 | Contact details of the assessor/s | Contact details of the assessor/s
1 | Name of the responding person/s | Name of the responding person/s
1 | Qualification and contact details of the responding person/s | Qualification and contact details of the responding person/s
1 | Level of laboratory | Level of laboratory
1 | Central/Reference | Central/Reference
1 | Intermediate | Intermediate
1 | Peripheral | Peripheral
1 | Other | Other
1 | NA | NA
1 | Affiliation/ type of laboratory (several answers possible) | Affiliation/ type of laboratory (several answers possible)
1 | Public Health / Hospital / Health Centre / Environment / Food Control / Veterinary / Private / University / Research / Other? | Public Health / Hospital / Health Centre / Environment / Food Control / Veterinary / Private / University / Research / Other?
1 | Affiliated Ministry (if applicable) | Affiliated Ministry (if applicable)
1 | Health / Agriculture / Trade, Commerce / Education / Defense / Other? | Health / Agriculture / Trade, Commerce / Education / Defense / Other?
1 | Estimated population covered by this laboratory | Estimated population covered by this laboratory
1 | Describe participation in international programmes/networks (if applicable) | Describe participation in international programmes/networks (if applicable)
1 | Polio, FluNet, INFOSAN, Global Foodborne Infections Network, etc. | Polio, FluNet, INFOSAN, Global Foodborne Infections Network, etc.
1 | Indicate relevant disciplines addressed in the laboratory by checking relevant box/es | Indicate relevant disciplines addressed in the laboratory by checking relevant box/es
1 | Documents to be collected | Documents to be collected
1 | 1; 2; 3; 4 | 1; 2; 3; 4
1 | Provide here the answer to the open question/s and/or insert any additional information | Provide here the answer to the open question/s and/or insert any additional information
1 | Possible answers (unless otherwise advised): 1.Yes; 2.Partial; 3.No; 4.Non applicable | Possible answers (unless otherwise advised): 1.Yes; 2.Partial; 3.No; 4.Non applicable
1 | Organization and management | Organization and management
1 | Service hours | Service hours
1 | What are the days and hours of operation of routine service? | What are the days and hours of operation of routine service?
1 | If relevant, what are the days and hours of operation of emergency service? | If relevant, what are the days and hours of operation of emergency service?
1 | External communication | External communication
1 | Is the laboratory equipped with: | Is the laboratory equipped with:
1 | Telephone? | Telephone?
1 | Fax? | Fax?
1 | Computer with Internet access? | Computer with Internet access?
1 | If yes or partial, does laboratory staff have access to the Internet? | If yes or partial, does laboratory staff have access to the Internet?
1 | Is relevant information on costs and turnaround time for test results available to patients? | Is relevant information on costs and turnaround time for test results available to patients?
1 | Is there timely notification to patients when delay is anticipated due to machine breakdown, etc.? | Is there timely notification to patients when delay is anticipated due to machine breakdown, etc.?
1 | If applicable, do you organize customer surveys at least once a year? | If applicable, do you organize customer surveys at least once a year?
1 | Internal communication and structure | Internal communication and structure
1 | Is there an organizational structure defining the lines of authorities and responsibilities for key laboratory staff? | Is there an organizational structure defining the lines of authorities and responsibilities for key laboratory staff?
1 | Are staff meetings organized at least once a month? | Are staff meetings organized at least once a month?
1 | If applicable, are team manager meetings organized at least once a month? | If applicable, are team manager meetings organized at least once a month?
1 | Are meetings organized to solve a particular problem when it occurs? | Are meetings organized to solve a particular problem when it occurs?
1 | Are written reports or minutes of these meetings produced? | Are written reports or minutes of these meetings produced?
1 | Please describe the means by which information is internally communicated (notice board, e-mail, etc.). | Please describe the means by which information is internally communicated (notice board, e-mail, etc.).
1 | Do laboratory staff participate in annual laboratory meetings specifically focused on sharing of knowledge and experiences and the opportunity to make improvements? | Do laboratory staff participate in annual laboratory meetings specifically focused on sharing of knowledge and experiences and the opportunity to make improvements?
1 | Do laboratory representatives participate in hospital/institution board meetings as relevant? | Do laboratory representatives participate in hospital/institution board meetings as relevant?
1 | Budget | Budget
1 | Is the budget for staff salaries adequate for the need? | Is the budget for staff salaries adequate for the need?
1 | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.) | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.)
1 | Is there an adequate budget assigned for staff education? | Is there an adequate budget assigned for staff education?
1 | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.) | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.)
1 | Is there an adequate budget assigned for consumable and reagent purchase? | Is there an adequate budget assigned for consumable and reagent purchase?
1 | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.) | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.)
1 | Is there an adequate budget assigned for equipment purchase/maintenance? | Is there an adequate budget assigned for equipment purchase/maintenance?
1 | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.) | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.)
1 | Is there an adequate budget assigned for surveillance and/or overall public health activities? | Is there an adequate budget assigned for surveillance and/or overall public health activities?
1 | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.) | Please indicate the source of funds (proper funds, relevant ministry, NGO, specific networks, etc.)
1 | Licensing/Supervision/Accreditation | Licensing/Supervision/Accreditation
1 | Has the laboratory been licensed (i.e. authorized to operate) by the authorities? If licensing is not required, please indicate “Non applicable”. | Has the laboratory been licensed (i.e. authorized to operate) by the authorities? If licensing is not required, please indicate “Non applicable”.
1 | Does the laboratory have an internal audit programme? | Does the laboratory have an internal audit programme?
1 | If yes or partial, please describe | If yes or partial, please describe
1 | Has the laboratory undergone an audit or assessment by a third party within the last two years? | Has the laboratory undergone an audit or assessment by a third party within the last two years?
1 | If yes or partial, please provide details | If yes or partial, please provide details
1 | Are copies of any reports on reviews by a third party available to the laboratory? | Are copies of any reports on reviews by a third party available to the laboratory?
1 | Are recommendations from third party reviews implemented where relevant? | Are recommendations from third party reviews implemented where relevant?
1 | Does the laboratory hold any form of certification (ISO 9001, other)? | Does the laboratory hold any form of certification (ISO 9001, other)?
1 | If yes, please detail the relevant standards and the names of the certification bodies. | If yes, please detail the relevant standards and the names of the certification bodies.
1 | Does the laboratory hold any form of accreditation (ISO 17025, ISO 15189, WHO polio or measles, etc.)? | Does the laboratory hold any form of accreditation (ISO 17025, ISO 15189, WHO polio or measles, etc.)?
1 | If yes, please details the relevant standards and the names of the accreditation bodies. | If yes, please details the relevant standards and the names of the accreditation bodies.
1 | Documents | Documents
1 | Document control | Document control
1 | Is a system in place to organize the management of laboratory documents and records? | Is a system in place to organize the management of laboratory documents and records?
1 | If yes, are the documents: | If yes, are the documents:
1 | Listed? | Listed?
1 | Numbered? | Numbered?
1 | Approved and signed by authorized personnel? | Approved and signed by authorized personnel?
1 | Reviewed periodically? | Reviewed periodically?
1 | Archived according to national or international guidelines? | Archived according to national or international guidelines?
1 | Does the laboratory have an archive system? | Does the laboratory have an archive system?
1 | Are the archived documents retrievable? | Are the archived documents retrievable?
1 | For how long are the archived documents kept? | For how long are the archived documents kept?
1 | Quality procedures | Quality procedures
1 | Is a quality manual describing the quality system policy and the quality procedures available? | Is a quality manual describing the quality system policy and the quality procedures available?
1 | If yes or partial, does it cover these topics: | If yes or partial, does it cover these topics:
1 | Laboratory organization and management? | Laboratory organization and management?
1 | Documentation and records? | Documentation and records?
1 | Pre-examination procedures? | Pre-examination procedures?
1 | Examination procedures? | Examination procedures?
1 | Post-examination procedures and reporting of results? | Post-examination procedures and reporting of results?
1 | Management of nonconformities? | Management of nonconformities?
1 | Personnel and education requirements? | Personnel and education requirements?
1 | Safety and facilities? | Safety and facilities?
1 | Equipment? | Equipment?
1 | Consumables and reagents? | Consumables and reagents?
1 | Reference materials? | Reference materials?
1 | Collaboration with referral laboratories? | Collaboration with referral laboratories?
1 | Internal quality control procedures? | Internal quality control procedures?
1 | External quality assessment procedures? | External quality assessment procedures?
1 | Are all procedures related to relationship with other relevant institutes and organizations documented? | Are all procedures related to relationship with other relevant institutes and organizations documented?
1 | Are procedures readily available to staff, as relevant? | Are procedures readily available to staff, as relevant?
1 | Are changes in procedures tracked? | Are changes in procedures tracked?
1 | Are laboratory procedures reviewed at least annually and any necessary amendments incorporated? | Are laboratory procedures reviewed at least annually and any necessary amendments incorporated?
1 | Are confidentiality protected and access limited, as appropriate? | Are confidentiality protected and access limited, as appropriate?
1 | Are current versions of published standards and other similar documents in use in the laboratory available (e.g. norms, guidelines, instrument manuals, test kit inserts etc.)? | Are current versions of published standards and other similar documents in use in the laboratory available (e.g. norms, guidelines, instrument manuals, test kit inserts etc.)?
1 | Does the laboratory have procedures that were developed in-house? | Does the laboratory have procedures that were developed in-house?
1 | If so, are they clearly documented according to a defined format? | If so, are they clearly documented according to a defined format?
1 | Is there a procedure for the storage of primary specimens once analysed? | Is there a procedure for the storage of primary specimens once analysed?
1 | Are there procedures for the validation and verification of methods and equipment as relevant? | Are there procedures for the validation and verification of methods and equipment as relevant?
1 | Are procedures in place to record incidents or complaints? | Are procedures in place to record incidents or complaints?
1 | If yes or partial, are corrective actions implemented and recorded? | If yes or partial, are corrective actions implemented and recorded?
1 | Biosafety | Biosafety
1 | Are written biosafety procedures available? | Are written biosafety procedures available?
1 | If yes or partial, please provide the name and reference of these procedures/guidelines: | If yes or partial, please provide the name and reference of these procedures/guidelines:
1 | If yes or partial, are the following subjects addressed: | If yes or partial, are the following subjects addressed:
1 | Personal protective equipment? | Personal protective equipment?
1 | Disinfection and sterilization? | Disinfection and sterilization?
1 | Waste disposal? | Waste disposal?
1 | Access restrictions? | Access restrictions?
1 | Biosafety equipments? | Biosafety equipments?
1 | Emergency protocols (e.g. in case of contamination)? | Emergency protocols (e.g. in case of contamination)?
1 | Are Material Safety Data Sheets available for review in the immediate laboratory area? | Are Material Safety Data Sheets available for review in the immediate laboratory area?
1 | Specimen collection, handling and transport | Specimen collection, handling and transport
1 | Specimen collection | Specimen collection
1 | Are written instructions available for patient preparation prior to collection (e.g. glucose tolerance test)? | Are written instructions available for patient preparation prior to collection (e.g. glucose tolerance test)?
1 | Are collection procedures documented and available to relevant personnel? | Are collection procedures documented and available to relevant personnel?
1 | Do these include minimum patient identification details? | Do these include minimum patient identification details?
1 | Is a standard specimen request form available for those requesting tests? | Is a standard specimen request form available for those requesting tests?
1 | If yes or partial, does it include: | If yes or partial, does it include:
1 | Name of the patient? | Name of the patient?
1 | Gender? | Gender?
1 | Date of birth? | Date of birth?
1 | Patient identification number (if applicable)? | Patient identification number (if applicable)?
1 | Identification of the prescriber? | Identification of the prescriber?
1 | Date of collection? | Date of collection?
1 | Time of collection? | Time of collection?
1 | Type of specimen? | Type of specimen?
1 | Specimen identification number (if applicable)? | Specimen identification number (if applicable)?
1 | Examinations requested? | Examinations requested?
1 | Clinical information? | Clinical information?
1 | Are specimens recorded in a book, worksheet, computer or other comparable system? | Are specimens recorded in a book, worksheet, computer or other comparable system?
1 | If yes or partial, is there: | If yes or partial, is there:
1 | A unique identification number? | A unique identification number?
1 | The date of receipt? | The date of receipt?
1 | The time of receipt? | The time of receipt?
1 | Are specimen portions traceable to the original primary sample (identification number, etc.)? | Are specimen portions traceable to the original primary sample (identification number, etc.)?
1 | Specimen handling | Specimen handling
1 | Does the laboratory experience problems with specimens from outside the facility due to (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable): | Does the laboratory experience problems with specimens from outside the facility due to (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable):
1 | No request form | No request form
1 | Incomplete request form | Incomplete request form
1 | Incorrect specimen identification | Incorrect specimen identification
1 | Incorrect patient identification | Incorrect patient identification
1 | Inadequate container | Inadequate container
1 | Inadequate volume | Inadequate volume
1 | Inadequate transport media/anticoagulant | Inadequate transport media/anticoagulant
1 | Inadequate package | Inadequate package
1 | Inadequate transportation temperature | Inadequate transportation temperature
1 | Delay in receipt | Delay in receipt
1 | Does the laboratory experience problems with collecting specimens inside the facility due to (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable): | Does the laboratory experience problems with collecting specimens inside the facility due to (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable):
1 | Lack of proper collection materials | Lack of proper collection materials
1 | No request form | No request form
1 | Incomplete request form | Incomplete request form
1 | Incorrect specimen identification | Incorrect specimen identification
1 | Incorrect patient identification | Incorrect patient identification
1 | Inadequate volume | Inadequate volume
1 | Are there any criteria for acceptance or rejection of primary specimens (including potential caution if non-conforming specimens are accepted)? | Are there any criteria for acceptance or rejection of primary specimens (including potential caution if non-conforming specimens are accepted)?
1 | Are primary specimens adequately stored if not immediately examined? | Are primary specimens adequately stored if not immediately examined?
1 | Are specimens stored for a specific time under appropriate conditions to enable further testing? | Are specimens stored for a specific time under appropriate conditions to enable further testing?
1 | Specimen referral / transport | Specimen referral / transport
1 | Does the laboratory receive specimens or isolates from other laboratories? | Does the laboratory receive specimens or isolates from other laboratories?
1 | Does the laboratory refer specimens or isolates to other laboratories? | Does the laboratory refer specimens or isolates to other laboratories?
1 | If yes or partial, please describe which specimens to which laboratories in what circumstances: | If yes or partial, please describe which specimens to which laboratories in what circumstances:
1 | Does the laboratory have appropriate packaging for referring specimens (triple package if air transport, or any package in conformity with local regulations or recommendations)? | Does the laboratory have appropriate packaging for referring specimens (triple package if air transport, or any package in conformity with local regulations or recommendations)?
1 | Is/are the person/s in charge of shipments trained for the transport of infectious substances? | Is/are the person/s in charge of shipments trained for the transport of infectious substances?
1 | If yes or partial: | If yes or partial:
1 | Is he/she trained for local or national regulations or recommendations? | Is he/she trained for local or national regulations or recommendations?
1 | Is he/she trained in international regulations? | Is he/she trained in international regulations?
1 | Data and information management | Data and information management
1 | Test results and reports | Test results and reports
1 | Are all original observations/results of the laboratory recorded in a worksheet or electronic database? | Are all original observations/results of the laboratory recorded in a worksheet or electronic database?
1 | Are results reported and recorded in a standardized format? | Are results reported and recorded in a standardized format?
1 | If yes or partial, does the report form include the following: | If yes or partial, does the report form include the following:
1 | Name of the laboratory? | Name of the laboratory?
1 | Patient identification? | Patient identification?
1 | Requester identification? | Requester identification?
1 | Sample type? | Sample type?
1 | Examination method? | Examination method?
1 | Date of sample collection? | Date of sample collection?
1 | Time of sample collection? | Time of sample collection?
1 | Date of receipt of the sample by the laboratory? | Date of receipt of the sample by the laboratory?
1 | Time of receipt of the sample by the laboratory? | Time of receipt of the sample by the laboratory?
1 | Date of release of report? | Date of release of report?
1 | Time of release of report? | Time of release of report?
1 | Results reported in International System of Units (where applicable)? | Results reported in International System of Units (where applicable)?
1 | Biological reference intervals (where applicable)? | Biological reference intervals (where applicable)?
1 | Interpretation (where appropriate)? | Interpretation (where appropriate)?
1 | Identification and signature of the person authorizing the release of the report? | Identification and signature of the person authorizing the release of the report?
1 | Are the results reviewed and authorized before the results are released? | Are the results reviewed and authorized before the results are released?
1 | Is there a system in place to track if reports have been issued and received? | Is there a system in place to track if reports have been issued and received?
1 | When samples need to be referred further to another laboratory, is there procedure to define how report is then issued and by which laboratory? | When samples need to be referred further to another laboratory, is there procedure to define how report is then issued and by which laboratory?
1 | Is there an immediate notification of physicians when results are critical for patient care? | Is there an immediate notification of physicians when results are critical for patient care?
1 | Is there an immediate notification of relevant ministry/surveillance network when results are critical? | Is there an immediate notification of relevant ministry/surveillance network when results are critical?
1 | Data analysis and statistics | Data analysis and statistics
1 | Can the laboratory provide basic statistical data (e.g. number of tests ordered, aggregated qualitative/quantitative data, etc.)? | Can the laboratory provide basic statistical data (e.g. number of tests ordered, aggregated qualitative/quantitative data, etc.)?
1 | If yes or partial, are statistical data analysed and used? | If yes or partial, are statistical data analysed and used?
1 | Are periodic summary activity reports prepared? | Are periodic summary activity reports prepared?
1 | Data security - Confidentiality | Data security - Confidentiality
1 | Are access and modification of patient data protected for paper-based system? | Are access and modification of patient data protected for paper-based system?
1 | Are access and modification of patient data protected for electronic system? | Are access and modification of patient data protected for electronic system?
1 | Is efficient back-up in place to prevent loss of patient result data in case of theft or other incident for paper-based system? | Is efficient back-up in place to prevent loss of patient result data in case of theft or other incident for paper-based system?
1 | Is efficient back-up in place to prevent loss of patient result data in case of theft or computer failure or other incident for electronic system? | Is efficient back-up in place to prevent loss of patient result data in case of theft or computer failure or other incident for electronic system?
1 | Are reported data (copies) retained as long as medically relevant or required by the legislation? | Are reported data (copies) retained as long as medically relevant or required by the legislation?
1 | IT and Laboratory Information System (LIS) | IT and Laboratory Information System (LIS)
1 | What are the softwares/applications used in the laboratory: | What are the softwares/applications used in the laboratory:
1 | Word processor? | Word processor?
1 | Spreadsheet processor? | Spreadsheet processor?
1 | Presentation software? | Presentation software?
1 | Database software? | Database software?
1 | Internet browsing? | Internet browsing?
1 | E-mail? | E-mail?
1 | LIS? | LIS?
1 | If yes or partial for LIS: | If yes or partial for LIS:
1 | Are data retrievable within an acceptable timeframe? | Are data retrievable within an acceptable timeframe?
1 | Can the system be used for data analysis? | Can the system be used for data analysis?
1 | Consumables and reagents | Consumables and reagents
1 | Procurement | Procurement
1 | Are lists of manufacturers/suppliers and catalogues of reagents available? | Are lists of manufacturers/suppliers and catalogues of reagents available?
1 | If applicable, are the consumables and reagents ordered in the list of registered supplies at national level? | If applicable, are the consumables and reagents ordered in the list of registered supplies at national level?
1 | Does the laboratory experience problems with reagent delivery like delays, temperature not adequate, reference error, etc. (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)? | Does the laboratory experience problems with reagent delivery like delays, temperature not adequate, reference error, etc. (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)?
1 | Is there a responsible staff for consumable and reagent management (inventory, order, etc.)? | Is there a responsible staff for consumable and reagent management (inventory, order, etc.)?
1 | Is the purchase of consumables and reagents recorded? | Is the purchase of consumables and reagents recorded?
1 | Inventory and storage | Inventory and storage
1 | Is there an inventory system for consumables and reagents? | Is there an inventory system for consumables and reagents?
1 | If yes or partial, does it include: | If yes or partial, does it include:
1 | Quantity? | Quantity?
1 | Quality? | Quality?
1 | Supplier? | Supplier?
1 | Lot number? | Lot number?
1 | Date of receipt? | Date of receipt?
1 | Appropriate storage? | Appropriate storage?
1 | Expiration date? | Expiration date?
1 | Expected shelf life? | Expected shelf life?
1 | Date the material is placed in service? | Date the material is placed in service?
1 | Are consumables and reagents inspected upon receipt? | Are consumables and reagents inspected upon receipt?
1 | If yes or partial, are there protocols for acceptance/rejection of consumables and reagents? | If yes or partial, are there protocols for acceptance/rejection of consumables and reagents?
1 | Are consumables and reagents appropriately stored (temperature, humidity, etc.)? | Are consumables and reagents appropriately stored (temperature, humidity, etc.)?
1 | Use | Use
1 | Is the date of opening clearly written on the reagents/kits? | Is the date of opening clearly written on the reagents/kits?
1 | Are new reagents (new product, new lot, including home-made reagents) validated against old reagents or reference materials before use? | Are new reagents (new product, new lot, including home-made reagents) validated against old reagents or reference materials before use?
1 | Is the consumption rate monitored for consumables and reagents? | Is the consumption rate monitored for consumables and reagents?
1 | Is there a system for accurately forecasting needs for consumables and reagents? | Is there a system for accurately forecasting needs for consumables and reagents?
1 | Are disposable supplies (e.g. tips, plastic pipettes, gloves) reused (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)? | Are disposable supplies (e.g. tips, plastic pipettes, gloves) reused (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)?
1 | Expired reagents | Expired reagents
1 | Are expired reagents used (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)? | Are expired reagents used (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)?
1 | If sometimes or regularly, is quality control performed on these expired reagents? | If sometimes or regularly, is quality control performed on these expired reagents?
1 | If sometimes or regularly, does quality control testing demonstrate that the quality of reagents is still acceptable? | If sometimes or regularly, does quality control testing demonstrate that the quality of reagents is still acceptable?
1 | Equipment | Equipment
1 | Equipment inventory | Equipment inventory
1 | Is there an equipment inventory? | Is there an equipment inventory?
1 | If yes or partial, is each equipment recorded with a paper or electronic equipment form? | If yes or partial, is each equipment recorded with a paper or electronic equipment form?
1 | If yes or partial, does this form include: | If yes or partial, does this form include:
1 | Name of the equipment? | Name of the equipment?
1 | Serial number? | Serial number?
1 | Name and contact details of manufacturer (or local supplier)? | Name and contact details of manufacturer (or local supplier)?
1 | Date of receipt? | Date of receipt?
1 | Date of first use? | Date of first use?
1 | Location in the laboratory? | Location in the laboratory?
1 | Condition (i.e. new, used)? | Condition (i.e. new, used)?
1 | Maintenance activities? | Maintenance activities?
1 | Damage and repairs? | Damage and repairs?
1 | The individual primarily responsible for this equipment? | The individual primarily responsible for this equipment?
1 | Equipment maintenance, calibration and monitoring | Equipment maintenance, calibration and monitoring
1 | Are results validated against reference materials and/or methods when new equipment is introduced? | Are results validated against reference materials and/or methods when new equipment is introduced?
1 | Is the equipment maintained in a safe working condition (including electrical safety)? | Is the equipment maintained in a safe working condition (including electrical safety)?
1 | Is there daily monitoring and recording of temperatures for temperature-dependent equipment? | Is there daily monitoring and recording of temperatures for temperature-dependent equipment?
1 | Is the staff duly trained and authorized before first using equipment? | Is the staff duly trained and authorized before first using equipment?
1 | Do only authorized personnels use the equipment? | Do only authorized personnels use the equipment?
1 | Does the laboratory have a dedicated person in charge of the equipment (maintenance management, etc.)? | Does the laboratory have a dedicated person in charge of the equipment (maintenance management, etc.)?
1 | Is a preventive maintenance programme in place? | Is a preventive maintenance programme in place?
1 | Does the laboratory have contracts with external maintenance and repair services? | Does the laboratory have contracts with external maintenance and repair services?
1 | Are data from equipment maintenance recorded and used? | Are data from equipment maintenance recorded and used?
1 | Is there a defined protocol and time period for pipette calibration? | Is there a defined protocol and time period for pipette calibration?
1 | Is calibration of other equipment performed and checked regularly (pH meter, spectrophotometer, etc.)? | Is calibration of other equipment performed and checked regularly (pH meter, spectrophotometer, etc.)?
1 | Are results validated against gold standards after equipment maintenance or repair? | Are results validated against gold standards after equipment maintenance or repair?
1 | Are there user manuals for most of the equipment? | Are there user manuals for most of the equipment?
1 | If yes, are these manuals available in the language commonly used by the staff? | If yes, are these manuals available in the language commonly used by the staff?
1 | Are there sufficient spare parts for quick repairs (lamps, fuses, filters, etc.)? | Are there sufficient spare parts for quick repairs (lamps, fuses, filters, etc.)?
1 | Is defective equipment (waiting for repair or obsolete to be removed) labelled appropriately? | Is defective equipment (waiting for repair or obsolete to be removed) labelled appropriately?
1 | Are procedures available for the disposal of equipment? | Are procedures available for the disposal of equipment?
1 | List of FUNCTIONING and USABLE equipment | List of FUNCTIONING and USABLE equipment
1 | Atomic Absorption Spectrometer | Atomic Absorption Spectrometer
1 | Autoclave (clean) | Autoclave (clean)
1 | Autoclave (dirty) | Autoclave (dirty)
1 | Automated microbial identification and susceptibility testing systems | Automated microbial identification and susceptibility testing systems
1 | Automatic pipette (other than micropipettes) | Automatic pipette (other than micropipettes)
1 | Basic scale | Basic scale
1 | Beta and gamma (scintillation) counters | Beta and gamma (scintillation) counters
1 | Binocular microscope | Binocular microscope
1 | Biosafety Cabinet (BSC) class I | Biosafety Cabinet (BSC) class I
1 | Biosafety Cabinet class II | Biosafety Cabinet class II
1 | Biosafety Cabinet class III | Biosafety Cabinet class III
1 | Blood culture automated incubator | Blood culture automated incubator
1 | Bunsen burner + gas bottle | Bunsen burner + gas bottle
1 | Candle jar | Candle jar
1 | Centrifuge, cooled | Centrifuge, cooled
1 | Centrifuge, simple | Centrifuge, simple
1 | Chemistry analyser | Chemistry analyser
1 | CO2 incubator | CO2 incubator
1 | Coagulometer | Coagulometer
1 | Colorimeter | Colorimeter
1 | Computer for laboratory work | Computer for laboratory work
1 | Computer for office work | Computer for office work
1 | DNA automated extractor | DNA automated extractor
1 | Dry ice machine | Dry ice machine
1 | Electrophoresis equipment | Electrophoresis equipment
1 | ELISA equipment (Washer/Incubator/Reader) | ELISA equipment (Washer/Incubator/Reader)
1 | Flame photometer | Flame photometer
1 | Flow cytometer | Flow cytometer
1 | Fluorescence microscope | Fluorescence microscope
1 | Fluorimeter | Fluorimeter
1 | Freezer -20°C | Freezer -20°C
1 | Freezer -70°C | Freezer -70°C
1 | Gas Chromatography with any detection system | Gas Chromatography with any detection system
1 | Gel electrophoresis for nucleic acids and peptides | Gel electrophoresis for nucleic acids and peptides
1 | Glassware kit | Glassware kit
1 | Haematology automated analyser | Haematology automated analyser
1 | Heated magnetic agitator | Heated magnetic agitator
1 | Haematocrit centrifuge | Haematocrit centrifuge
1 | High Performance Liquid Chromatography with any detection system | High Performance Liquid Chromatography with any detection system
1 | Immunoassays automated analyser | Immunoassays automated analyser
1 | Incubator | Incubator
1 | Lyophilizer | Lyophilizer
1 | Manipulation box (chemical hood) | Manipulation box (chemical hood)
1 | Mass Spectrometry (with or without Liquid Chromatography) | Mass Spectrometry (with or without Liquid Chromatography)
1 | McFarland photometer | McFarland photometer
1 | Media dispenser | Media dispenser
1 | Micropipette 1-5ml | Micropipette 1-5ml
1 | Micropipette 20 µl | Micropipette 20 µl
1 | Micropipette 200- 1000µl | Micropipette 200- 1000µl
1 | Micropipette 5- 50µl | Micropipette 5- 50µl
1 | Micropipette 50- 200µl | Micropipette 50- 200µl
1 | Oven | Oven
1 | pH meter | pH meter
1 | Photographic equipment | Photographic equipment
1 | Plexiglass screen | Plexiglass screen
1 | Precision scale | Precision scale
1 | Printer for laboratory work | Printer for laboratory work
1 | Printer for office work | Printer for office work
1 | Pulsed Field Gel Electrophoresis | Pulsed Field Gel Electrophoresis
1 | Refrigerator | Refrigerator
1 | Rotary agitator | Rotary agitator
1 | Semi-automated microbial identification or susceptibility testing systems | Semi-automated microbial identification or susceptibility testing systems
1 | Slide dryer | Slide dryer
1 | Thermal cycler (Thermocycler, PCR Machine or DNA Amplifier), Conventional | Thermal cycler (Thermocycler, PCR Machine or DNA Amplifier), Conventional
1 | Thermal cycler (Thermocycler, PCR Machine or DNA Amplifier), Real Time | Thermal cycler (Thermocycler, PCR Machine or DNA Amplifier), Real Time
1 | Thin Layer Chromatography (with/without scanning device) | Thin Layer Chromatography (with/without scanning device)
1 | Turbidimeter | Turbidimeter
1 | UV light table | UV light table
1 | UV/visible spectrophotometer | UV/visible spectrophotometer
1 | Vacuum pump | Vacuum pump
1 | Vortex | Vortex
1 | Washing machine for glassware | Washing machine for glassware
1 | Water distiller | Water distiller
1 | Water bath | Water bath
1 | Number | Number
1 | Is it registered? | Is it registered?
1 | Is it maintained (including calibration if applicable)? | Is it maintained (including calibration if applicable)?
1 | Is it certified? | Is it certified?
1 | Laboratory testing performance | Laboratory testing performance
1 | Enter all relevant tests performed in the laboratory (one test/line) and provide requested details for each test | Enter all relevant tests performed in the laboratory (one test/line) and provide requested details for each test
1 | Reference number to be entered under "Discipline #" in the answer table below | Reference number to be entered under "Discipline #" in the answer table below
1 | Specimen to be entered under "Specimen type" in the answer table below | Specimen to be entered under "Specimen type" in the answer table below
1 | Disciplines | Disciplines
1 | Clinical chemistry | Clinical chemistry
1 | Haematology and haemostasis | Haematology and haemostasis
1 | Parasitology | Parasitology
1 | Mycology | Mycology
1 | Bacteriology (except serology) | Bacteriology (except serology)
1 | Virology (except serology) | Virology (except serology)
1 | Viral serology | Viral serology
1 | Bacterial serology | Bacterial serology
1 | Toxicology | Toxicology
1 | Histopathology | Histopathology
1 | Cytology | Cytology
1 | Human genetics | Human genetics
1 | Transfusion medicine | Transfusion medicine
1 | Food testing (microbiology) | Food testing (microbiology)
1 | Food testing (chemicals and others) | Food testing (chemicals and others)
1 | Water testing | Water testing
1 | Veterinary testing | Veterinary testing
1 | Environmental testing (air, soil) | Environmental testing (air, soil)
1 | Other | Other
1 | Other: | Other:
1 | If other, please describe below: | If other, please describe below:
1 | Specimen type | Specimen type
1 | Blood | Blood
1 | Stool | Stool
1 | Urine | Urine
1 | CSF | CSF
1 | Sputum | Sputum
1 | Lymph nodes | Lymph nodes
1 | Bone marrow | Bone marrow
1 | Pus | Pus
1 | Pharyngeal/nasopharyngeal swab | Pharyngeal/nasopharyngeal swab
1 | Urethral/vaginal swab | Urethral/vaginal swab
1 | Other | Other
1 | Test type/Name | Test type/Name
1 | Discipline # | Discipline #
1 | Specimen type | Specimen type
1 | Method/s and Instrument/s | Method/s and Instrument/s
1 | Frequency | Frequency
1 | Average number of tests performed monthly | Average number of tests performed monthly
1 | Staff | Staff
1 | Is staff competent to perform the test? | Is staff competent to perform the test?
1 | SOPs | SOPs
1 | Is SOP available for this test? | Is SOP available for this test?
1 | Is the SOP adequate/up-to-date? | Is the SOP adequate/up-to-date?
1 | Equipment | Equipment
1 | Is equipment appropriate for this test? | Is equipment appropriate for this test?
1 | Is equipment adequately maintained? | Is equipment adequately maintained?
1 | Reagents/Test kits | Reagents/Test kits
1 | Are adequate reagents for this test available? | Are adequate reagents for this test available?
1 | Are the reagents in-date? | Are the reagents in-date?
1 | Quality Control | Quality Control
1 | Are IQC specimens included when performing this test? | Are IQC specimens included when performing this test?
1 | Are IQC results acceptable? | Are IQC results acceptable?
1 | Are corrective actions implemented if IQC results are not acceptable? | Are corrective actions implemented if IQC results are not acceptable?
1 | External Quality Assessment | External Quality Assessment
1 | Does the laboratory participate in EQA for this test? | Does the laboratory participate in EQA for this test?
1 | Are EQA results acceptable? | Are EQA results acceptable?
1 | Are corrective actions implemented if EQA results are not acceptable? | Are corrective actions implemented if EQA results are not acceptable?
1 | Score per test | Score per test
1 | Automatic calculation, not to be filled in here | Automatic calculation, not to be filled in here
1 | e.g. | e.g.
1 | Cytobacteriological examination of urine | Cytobacteriological examination of urine
1 | Microscopy, Gram, Culture | Microscopy, Gram, Culture
1 | Facilities | Facilities
1 | Infrastructure | Infrastructure
1 | What is the general condition of laboratory building and infrastructure? For the following questions, choose one of the following answers: 1.Good; 2.Medium; 3.Bad; 4.Non applicable | What is the general condition of laboratory building and infrastructure? For the following questions, choose one of the following answers: 1.Good; 2.Medium; 3.Bad; 4.Non applicable
1 | Walls, floors and roofs? | Walls, floors and roofs?
1 | Windows and doors? | Windows and doors?
1 | Benches? | Benches?
1 | Heating / air conditioner / ventilation? | Heating / air conditioner / ventilation?
1 | Lighting? | Lighting?
1 | Waste disposal? | Waste disposal?
1 | Work conditions | Work conditions
1 | Does the laboratory face electricity interruption (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)? | Does the laboratory face electricity interruption (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)?
1 | If applicable, do you have an emergency electric generator or other backup power source? | If applicable, do you have an emergency electric generator or other backup power source?
1 | Is key/sensitive equipment protected by a UPS (Uninterruptable Power Supply)? | Is key/sensitive equipment protected by a UPS (Uninterruptable Power Supply)?
1 | i.e. photometer/spectrophotometer, thermal cycler, BSC, or any other equipment that can be damaged by sudden interruptions in electricity | i.e. photometer/spectrophotometer, thermal cycler, BSC, or any other equipment that can be damaged by sudden interruptions in electricity
1 | Does the laboratory face water shortages (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)? | Does the laboratory face water shortages (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable)?
1 | Is the space allocated sufficient to perform the work without compromising the quality and safety of patients and personnel? | Is the space allocated sufficient to perform the work without compromising the quality and safety of patients and personnel?
1 | Are work areas clean and well maintained? | Are work areas clean and well maintained?
1 | Is sample collection carried out in room(s) separated from the laboratory examination room(s)? | Is sample collection carried out in room(s) separated from the laboratory examination room(s)?
1 | Is there an effective separation between adjacent laboratory sections in which there are incompatible activities (e.g. nucleic acid extraction vs amplification)? | Is there an effective separation between adjacent laboratory sections in which there are incompatible activities (e.g. nucleic acid extraction vs amplification)?
1 | Are there designated rooms for specialized testing (TB, brucellosis, etc.)? | Are there designated rooms for specialized testing (TB, brucellosis, etc.)?
1 | If applicable, is there a negative pressure room? | If applicable, is there a negative pressure room?
1 | Are there appropriate storage areas? | Are there appropriate storage areas?
1 | Human resources | Human resources
1 | Staff number | Staff number
1 | Number of: | Number of:
1 | Managers/senior staff (postgraduate degree) | Managers/senior staff (postgraduate degree)
1 | Laboratory technologists or technicians (performing tests) | Laboratory technologists or technicians (performing tests)
1 | Laboratory assistants/medical aides (not doing tests) | Laboratory assistants/medical aides (not doing tests)
1 | Support/administrative staff | Support/administrative staff
1 | Phlebotomists | Phlebotomists
1 | Other staff | Other staff
1 | For other staff, please specify: | For other staff, please specify:
1 | Total number of persons working in the laboratory | Total number of persons working in the laboratory
1 | Is the staff number adequate to undertake the required work? | Is the staff number adequate to undertake the required work?
1 | If no or partial: | If no or partial:
1 | Is trained manager/senior staff missing? | Is trained manager/senior staff missing?
1 | Is technical staff missing? | Is technical staff missing?
1 | Is assistant/medical aide staff missing? | Is assistant/medical aide staff missing?
1 | Is support/administrative staff missing? | Is support/administrative staff missing?
1 | Is phlebotomist missing? | Is phlebotomist missing?
1 | Is other staff missing? | Is other staff missing?
1 | For other staff, please specify: | For other staff, please specify:
1 | Qualifications | Qualifications
1 | Are qualifications, training and experience of staff recorded? | Are qualifications, training and experience of staff recorded?
1 | Are job descriptions defining qualifications and duties available? | Are job descriptions defining qualifications and duties available?
1 | Are lines of authority and responsibility clearly defined for all laboratory staff? | Are lines of authority and responsibility clearly defined for all laboratory staff?
1 | Has a quality manager been designated? | Has a quality manager been designated?
1 | Does the staff have appropriate qualifications or competences to perform laboratory work? | Does the staff have appropriate qualifications or competences to perform laboratory work?
1 | If no or partial: | If no or partial:
1 | Do managers/senior staff have appropriate qualifications or competences? | Do managers/senior staff have appropriate qualifications or competences?
1 | Do laboratory technologists have appropriate qualifications or competences? | Do laboratory technologists have appropriate qualifications or competences?
1 | Do assistants/medical aides have appropriate qualifications or competences? | Do assistants/medical aides have appropriate qualifications or competences?
1 | Do support/administrative staff have appropriate qualifications or competences? | Do support/administrative staff have appropriate qualifications or competences?
1 | Do phlebotomists have appropriate qualifications or competences? | Do phlebotomists have appropriate qualifications or competences?
1 | Do other staff have appropriate qualifications or competences? | Do other staff have appropriate qualifications or competences?
1 | For other, please specify: | For other, please specify:
1 | Continuous education | Continuous education
1 | Is there a professional development programme in place for the staff? | Is there a professional development programme in place for the staff?
1 | Is continuing education (training, workshop, conference, etc.) provided to staff members? | Is continuing education (training, workshop, conference, etc.) provided to staff members?
1 | Is "in-house" education (on-site training, journal club, etc.) provided to staff members? | Is "in-house" education (on-site training, journal club, etc.) provided to staff members?
1 | Is there a library accessible by all staff in the laboratory? | Is there a library accessible by all staff in the laboratory?
1 | Please list the educational activities in the last two years | Please list the educational activities in the last two years
1 | Biorisk management | Biorisk management
1 | Biorisk management policy | Biorisk management policy
1 | Has a policy concerning the management of laboratory biorisk (biosafety and biosecurity) been written? | Has a policy concerning the management of laboratory biorisk (biosafety and biosecurity) been written?
1 | Does this policy clearly state the biorisk management objectives and commitment to improve biorisk management performance? | Does this policy clearly state the biorisk management objectives and commitment to improve biorisk management performance?
1 | Is the policy appropriate to the nature and scale of the risk associated with the facility and associated activities? | Is the policy appropriate to the nature and scale of the risk associated with the facility and associated activities?
1 | Biorisk assessment and control | Biorisk assessment and control
1 | Have the hazards associated with proposed work been identified and documented? | Have the hazards associated with proposed work been identified and documented?
1 | Have the biorisks been assessed and categorized? | Have the biorisks been assessed and categorized?
1 | Are biorisk control measures described in an action plan? | Are biorisk control measures described in an action plan?
1 | Are biorisk control measures documented? | Are biorisk control measures documented?
1 | Implementation and operation | Implementation and operation
1 | Are roles and responsibilities related to biorisk management defined and documented? | Are roles and responsibilities related to biorisk management defined and documented?
1 | Is a senior manager designated to oversee the biorisk management system? | Is a senior manager designated to oversee the biorisk management system?
1 | Has a biorisk management committee been established? | Has a biorisk management committee been established?
1 | Has a biorisk management advisor (or biological safety officer) been designated? | Has a biorisk management advisor (or biological safety officer) been designated?
1 | Is this advisor providing advice and guidance on biorisk management? | Is this advisor providing advice and guidance on biorisk management?
1 | Has this advisor delegated authority to stop work if necessary? | Has this advisor delegated authority to stop work if necessary?
1 | Does personnel have access to occupational health services? | Does personnel have access to occupational health services?
1 | Has a facility manager been designated to manage facilities, containment equipement and buildings? | Has a facility manager been designated to manage facilities, containment equipement and buildings?
1 | Has a security manager been designated? | Has a security manager been designated?
1 | Has an animal care manager been designated, in case the laboratory handles animals? | Has an animal care manager been designated, in case the laboratory handles animals?
1 | Are qualifications, experience and aptitudes relating to biorisk considered as part of the recruitment process? | Are qualifications, experience and aptitudes relating to biorisk considered as part of the recruitment process?
1 | Is there mechanism/s to ensure that personnel is competent (e.g. successful completion of training, ability to perform tasks under supervision)? | Is there mechanism/s to ensure that personnel is competent (e.g. successful completion of training, ability to perform tasks under supervision)?
1 | Is personnel regularly trained on biorisk management? | Is personnel regularly trained on biorisk management?
1 | Is an up-to-date biological agent and toxin inventory established and maintained? | Is an up-to-date biological agent and toxin inventory established and maintained?
1 | Are desinfection and decontamination procedures implemented effectively? | Are desinfection and decontamination procedures implemented effectively?
1 | Are waste management procedures implemented effectively? | Are waste management procedures implemented effectively?
1 | Are personal protective equipment and clothing used appropriately? | Are personal protective equipment and clothing used appropriately?
1 | Can personnel access prophylactic or emergency treatment in case of exposure to contaminated materials? | Can personnel access prophylactic or emergency treatment in case of exposure to contaminated materials?
1 | Is a vaccination policy defined and implemented? | Is a vaccination policy defined and implemented?
1 | Is behaviour of personnel safe (e.g. no mouth pipetting, no recaping of needles, no smoking, no food stored in working areas)? | Is behaviour of personnel safe (e.g. no mouth pipetting, no recaping of needles, no smoking, no food stored in working areas)?
1 | Are the facilities designed to allow to work in a safe and secure way? | Are the facilities designed to allow to work in a safe and secure way?
1 | Is there a formal commissioning process of new facilities? | Is there a formal commissioning process of new facilities?
1 | Are equipments and elements of the physical plant that may impact on biorisk identified? | Are equipments and elements of the physical plant that may impact on biorisk identified?
1 | If yes or partial, are these equipments and elements: | If yes or partial, are these equipments and elements:
1 | Correctly certified or validated, in line with the manufacturer or regulations' requirements? | Correctly certified or validated, in line with the manufacturer or regulations' requirements?
1 | Correctly maintained? | Correctly maintained?
1 | Are appropriate security measures in place to minimize potential unappopriate removal or release of biological agents (e.g. theft, earthquake, flood)? | Are appropriate security measures in place to minimize potential unappopriate removal or release of biological agents (e.g. theft, earthquake, flood)?
1 | Is access to sensitive information (e.g. inventory of agents and toxins) controlled by adequate policies and procedures? | Is access to sensitive information (e.g. inventory of agents and toxins) controlled by adequate policies and procedures?
1 | Are procedures for a safe and secure transport of culture, specimens, samples and other contaminated materials established? | Are procedures for a safe and secure transport of culture, specimens, samples and other contaminated materials established?
1 | Are emergency plans available (e.g. in case of explosion, fire, flood, worker exposure, accident or illness, major spillage)? | Are emergency plans available (e.g. in case of explosion, fire, flood, worker exposure, accident or illness, major spillage)?
1 | Are emergency situation simulation exercices including security drills conducted at regular intervals? | Are emergency situation simulation exercices including security drills conducted at regular intervals?
1 | Are contingency measures planned in the event of an emergency or unforeseen event (e.g. power failure)? | Are contingency measures planned in the event of an emergency or unforeseen event (e.g. power failure)?
1 | Are biorisk documents and records controlled and managed as part of the laboratory document management system? | Are biorisk documents and records controlled and managed as part of the laboratory document management system?
1 | Are accident/incident and nonconformities related to biorisk correctly managed (i.e. reported, recorded, investigated, and leading to preventive or corrective actions)? | Are accident/incident and nonconformities related to biorisk correctly managed (i.e. reported, recorded, investigated, and leading to preventive or corrective actions)?
1 | Do planned inspection or audit/s include assessment of the biorisk management system? | Do planned inspection or audit/s include assessment of the biorisk management system?
1 | Is there a regular review of the biorisk management system? | Is there a regular review of the biorisk management system?
1 | Public health functions | Public health functions
1 | Surveillance and response | Surveillance and response
1 | Does the laboratory know the designated reference laboratories? | Does the laboratory know the designated reference laboratories?
1 | Is the laboratory part of surveillance network/s for endemic communicable diseases (e.g. HIV, parasitic diseases, hepatitis)? | Is the laboratory part of surveillance network/s for endemic communicable diseases (e.g. HIV, parasitic diseases, hepatitis)?
1 | If yes, please specify: | If yes, please specify:
1 | Is the laboratory part of surveillance network/s for epidemic-prone diseases (e.g. measles, rotavirus, meningitis)? | Is the laboratory part of surveillance network/s for epidemic-prone diseases (e.g. measles, rotavirus, meningitis)?
1 | If yes, please specify: | If yes, please specify:
1 | Is the laboratory part of surveillance network/s for non-communicable diseases (e.g. diabetes, cancer)? | Is the laboratory part of surveillance network/s for non-communicable diseases (e.g. diabetes, cancer)?
1 | If yes, please specify: | If yes, please specify:
1 | Has the laboratory defined responsibilities in national preparedness and response to public health emergencies like outbreaks? | Has the laboratory defined responsibilities in national preparedness and response to public health emergencies like outbreaks?
1 | If yes, please specify: | If yes, please specify:
1 | Are specific instructions or guidelines for laboratory investigation of public health events available? | Are specific instructions or guidelines for laboratory investigation of public health events available?
1 | Specimens | Specimens
1 | Does the laboratory receive specimens from the field during the investigation of public health events or public health surveys? | Does the laboratory receive specimens from the field during the investigation of public health events or public health surveys?
1 | Does the laboratory give advice on specimen collection and transport practices from the field during the investigation of public health emergencies? | Does the laboratory give advice on specimen collection and transport practices from the field during the investigation of public health emergencies?
1 | Does the laboratory have a stock of emergency laboratory sampling kits (personal protective equipment, sample collection material, transport media)? | Does the laboratory have a stock of emergency laboratory sampling kits (personal protective equipment, sample collection material, transport media)?
1 | Does the laboratory receive specimens or isolates from clinical laboratories for public health purpose (e.g. routine surveillance, outbreak investigation)? | Does the laboratory receive specimens or isolates from clinical laboratories for public health purpose (e.g. routine surveillance, outbreak investigation)?
1 | Does the laboratory refer specimens or isolates to reference laboratories for public health purpose (e.g. routine surveillance, outbreak investigation)? | Does the laboratory refer specimens or isolates to reference laboratories for public health purpose (e.g. routine surveillance, outbreak investigation)?
1 | Reporting | Reporting
1 | Is a list of notifiable diseases the laboratory must report available? | Is a list of notifiable diseases the laboratory must report available?
1 | Is reporting to public health authorities established and implemented? | Is reporting to public health authorities established and implemented?
1 | If yes, is there a standardized form/document to report notificable diseases or other events? | If yes, is there a standardized form/document to report notificable diseases or other events?
1 | Does the laboratory send aggregated data on a weekly or monthly basis to public health authorities? | Does the laboratory send aggregated data on a weekly or monthly basis to public health authorities?
1 | Does the laboratory send aggregated data on a weekly or monthly basis to reference laboratory(ies)? | Does the laboratory send aggregated data on a weekly or monthly basis to reference laboratory(ies)?
1 | If applicable, is information provided to clinicians about AST patterns? | If applicable, is information provided to clinicians about AST patterns?
1 | If applicable, is information provided to epidemiologists about AST patterns? | If applicable, is information provided to epidemiologists about AST patterns?
1 | Gap analysis | Gap analysis
1 | What are the biggest needs/weaknesses in the laboratory? | What are the biggest needs/weaknesses in the laboratory?
1 | Score from 0 (no gap) to 5 (high gap) for the points below and please provide comments for the area/s that display the biggest weaknesses (scores 4 and 5) | Score from 0 (no gap) to 5 (high gap) for the points below and please provide comments for the area/s that display the biggest weaknesses (scores 4 and 5)
1 | 0; 1; 2; 3; 4; 5 | 0; 1; 2; 3; 4; 5
1 | Comments | Comments
1 | Financial resources for laboratory activities | Financial resources for laboratory activities
1 | Human resources – qualifications and availability of suitable laboratory staff | Human resources – qualifications and availability of suitable laboratory staff
1 | Equipment adequacy | Equipment adequacy
1 | Equipment calibration and maintenance | Equipment calibration and maintenance
1 | Reagent and consumable quality | Reagent and consumable quality
1 | Reagent and consumable availability and delivery | Reagent and consumable availability and delivery
1 | Specimen collection standardization and quality | Specimen collection standardization and quality
1 | Guidelines on laboratory practices | Guidelines on laboratory practices
1 | Transportation of specimens | Transportation of specimens
1 | Laboratory organization, service delivery structure | Laboratory organization, service delivery structure
1 | Regulatory framework | Regulatory framework
1 | Data management | Data management
1 | Laboratory safety or security | Laboratory safety or security
1 | Quality assurance | Quality assurance
1 | Political commitment (national laboratory policies, budget, etc.) | Political commitment (national laboratory policies, budget, etc.)
1 | Other | Other
1 | For other, please specify: | For other, please specify:
1 | Monthly test numbers for relevant tests | Monthly test numbers for relevant tests
1 | Laboratory Facility Assessment Questionnaire Report | Laboratory Facility Assessment Questionnaire Report
1 | All data in this module are automatically retrieved, nothing is to be filled in here except the comment boxes | All data in this module are automatically retrieved, nothing is to be filled in here except the comment boxes
1 | Average indicator | Average indicator
1 | Affiliation/ type of laboratory | Affiliation/ type of laboratory
1 | Monthly numbers (for test/s entered in Module 7) | Monthly numbers (for test/s entered in Module 7)
1 | General comments on the assessment | General comments on the assessment
1 | Conclusions and recommendations | Conclusions and recommendations
1 | Insert photographs below | Insert photographs below
1 | Export | Export
1 | Acronyms referred to in this document | Acronyms referred to in this document
1 | AST | AST
1 | Antimicrobial Susceptibility Testing | Antimicrobial Susceptibility Testing
1 | BSC | BSC
1 | Biosafety Cabinet | Biosafety Cabinet
1 | CO2 | CO2
1 | Carbon Dioxide | Carbon Dioxide
1 | CSF | CSF
1 | Cerebrospinal Fluid | Cerebrospinal Fluid
1 | DNA | DNA
1 | Deoxyribonucleic acid | Deoxyribonucleic acid
1 | ELISA | ELISA
1 | Enzyme-linked immunosorbent assay | Enzyme-linked immunosorbent assay
1 | EQA | EQA
1 | External Quality Assessment | External Quality Assessment
1 | HIV | HIV
1 | Human Immunodeficiency Virus | Human Immunodeficiency Virus
1 | HR | HR
1 | Human Resources | Human Resources
1 | IQC | IQC
1 | Internal Quality Control | Internal Quality Control
1 | ISO | ISO
1 | International Organization for Standardization | International Organization for Standardization
1 | IT | IT
1 | Information Technology | Information Technology
1 | LIS | LIS
1 | Laboratory Information System | Laboratory Information System
1 | NGO | NGO
1 | Non-Governmental Organization | Non-Governmental Organization
1 | PCR | PCR
1 | Polymerase Chain Reaction | Polymerase Chain Reaction
1 | TB | TB
1 | Tuberculosis | Tuberculosis
1 | UPS | UPS
1 | Uninterruptable Power Supply | Uninterruptable Power Supply
1 | UV | UV
1 | Ultraviolet | Ultraviolet
1 | WHO | WHO
1 | World Health Organization | World Health Organization

## Export
Export
| Country | Region/Province/District | Name of the laboratory | Name of the laboratory director | Date of the assessment (DD/MM/YYYY) | Level of laboratory | Affiliation/ type of laboratory | Affiliated Ministry (if applicable) | Total number of persons working in the laboratory | Estimated population covered by this laboratory | Average indicator | Organization and management | Documents | Specimen collection, handling and transport | Data and information management | Consumables and reagents | Equipment | Laboratory testing performance | Facilities | Human resources | Biorisk management | Public health functions
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!

## Acronyms
Acronyms referred to in this document
AST | Antimicrobial Susceptibility Testing
BSC | Biosafety Cabinet
CO2 | Carbon Dioxide
CSF | Cerebrospinal Fluid
DNA | Deoxyribonucleic acid
ELISA | Enzyme-linked immunosorbent assay
EQA | External Quality Assessment
HIV | Human Immunodeficiency Virus
HR | Human Resources
IQC | Internal Quality Control
ISO | International Organization for Standardization
IT | Information Technology
LIS | Laboratory Information System
NGO | Non-Governmental Organization
PCR | Polymerase Chain Reaction
TB | Tuberculosis
UPS | Uninterruptable Power Supply
UV | Ultraviolet
WHO | World Health Organization