Insert Facility/Institute Logo Here

STANDARD OPERATING PROCEDURE (SOP) TEMPLATE

| Facility: |  |
| --- | --- |
| SOP Title: Autoclave Operation and Maintenance SOP |  |
| Document Number: 3-02-006 | Version Number: 00 |
| Process Leader: | Effective Date: MM-DD-YYYY |
| Other documents cross-referenced in this SOP (i.e., manuals, SOPs, forms, records): - Biorisk Management Manual Chapter V, Biorisk Assessment; Chapter XII, Equipment (4-00-001) - Attachment B, Protocol Risk Assessment Form |  |

| Revision Number | Sections Changed | Description of Change | Date | Approved By |
| --- | --- | --- | --- | --- |

INSTRUCTIONS:  The Biorisk Management Manual and supporting Standard Operating Procedure (SOP) templates provide a general overview of common considerations and information that should be addressed within a biorisk management system and program. These templates are not exhaustive and facilities must customize each document to ensure it is locally applicable and relevant.

- Black text can be considered generic text which may be appropriate for inclusion in a facility’s biorisk management manual and SOPs.

- Red text should be considered guidance or examples and must be reviewed and replaced with facility-specific information.

- Purpose

The purpose of this document is to establish procedures for proper use and maintenance of autoclaves used by Insert Institute/Facility Name.  Adherence to this procedure allows the autoclave to function as designed in order to provide the appropriate level of sterilization and/or decontamination of biological work supplies and waste.

- Scope

This document applies to all facility personnel and visitors who use autoclaves within Insert Institute/Facility Name and is used when determined necessary by risk assessment to provide the appropriate level of sterilization and/or decontamination of biological work supplies and waste.

- Responsibilities

- Process Leader ensures autoclaves are properly selected, located, operated and maintained and that users are trained on this procedure.

- Facility personnel who use autoclaves follow the procedures outlined in this SOP and report any problems to the Process Leader.

- Facilities Management Office ensures that all autoclaves are installed, serviced, calibrated and validated properly.

- Preparation

  - Materials

- Biohazard waste bags and containers

- Temperature indicator strips

- Steam sterilization indicator tape

- Biological indicator for steam sterilization

- Appropriate growth media or self-contained biological indicator and media ampule

- Heat-resistant Gloves

- PPE as determined by risk assessment

- Mild detergent/cleaning agent

- “Out of Service” sign

  - Equipment

- Autoclave, size, type and model

  - Records and Forms

- Autoclave Calibration Test Report

- Autoclave Validation Test Report

- Equipment Use Log

- Procedure (refer to Attachment A, Autoclave: Operation and Maintenance SOP Template Flow Chart)

  - Autoclave Selection, Procurement, Installation

    - Selection

      - Describe steps to be taken based on questions from flow chart steps 1-3

    - Procurement

      - Describe steps to be taken based on questions from flow chart step 4

    - Installation

      - Describe steps to be taken based on questions from flow chart step 4

  - Routine Operations

    - Set-up procedures and cycle selection

      - Describe steps to be taken based on questions from flow chart step 6A

    - Safety considerations and work practices

      - Describe steps to be taken based on questions from flow chart step 7A

    - Removal of materials and performance verification

      - Describe steps to be taken based on questions from flow chart step 8A

  - Scheduled Maintenance

    - Describe steps to be taken based on questions from flow chart step 6B

  - Unscheduled Maintenance

    - Describe steps to be taken based on questions from flow chart step 7B

- References

  - Manufacturer’s Instructions

- Attachments

  - Autoclave: Operation and Maintenance SOP Template Flow Chart

  - Attachment B, Protocol Risk Assessment Form

- Who authorizes purchase (Scientific Manager/Director)?

- Who coordinates delivery and installation (Facilities Management)?

- How are users trained prior to use?